Translated from Spanish to English - www.onlinedoctranslator.com

State Waterworks

Public Tender

“CONTRACTING A TELEMETRY SERVICE FOR DRINKING WATER METERS FOR INSTALLATION BY OSE WITHIN THE FRAMEWORK OF THE “OSE EVOLUCIONA” PROJECT, WITH AN APPROXIMATE TOTAL NUMBER OF 50,000 CONNECTIONS, WITH SUPPLY OF INTEGRAL SMART METERS OF 12.7mm”

Opening date:

Hour:

table of Contents

2. Section I	5

Single Set of General Terms and Conditions for Supply and Non-Personal Services Contracts	5

1 General Provisions	5

1.1 Scope of Application	5

1.2 Hierarchy of Norms	5

1.3 Calculation of Time Limits	5

1.4 Notifications	5

1.5 Communications	5

1.6 Competent jurisdiction	5

2 Publication of the call	5

3 Clarifications of the Specifications	6

4. Modification of the Special Specifications	6

5 Request for extension of bid opening	6

6 Administration Reserve	6

7 Standardization of articles	7

8 Formal Requirements for Bids	7

8.1 Writing	7

8.2 Home	7

8.3 Identification	7

8.4 Compliance with formal requirements	7

9 Requirements for submitting bids	7

9.1 Documents included in the offer	8

9.2 Requirements prior to submitting the offer	8

10. Validity of offers	8

10.1 General considerations	8

10.2 Object	8

10.3 Price and quotation	9

10.4 Taxes	10

10.5 Preference Regimes	11

10.5.1 General regime	11

10.5.2 Special regimes included in the Public Procurement Program for Development	13

11. Offer maintenance guarantee	15

11.1 Execution	15

11.2 Application of fine	16

12 Presentation, Confidentiality and Opening of Bids	16

12.1 Presentation	16

13 Defects, shortcomings or errors in the offers	17

13.1 Advisory Committee on Awards	17

13.2 Admissibility of offers	18

13.3 Evaluation	18

13.4 Offer Improvements	18

13.5 Negotiations	19

13.6 Clearly Inconvenient Price	19

13.7 View of the proceedings	19

14 Award	19

14.1 Dictation of the act	20

14.2 Formal requirements	20

15 Contract increase or decrease	20

16 Notification	20

17 Return of bid maintenance guarantees	20

18 Contract completion	21

19 Guarantee of faithful performance of the contract	21

19.1 Constitution	21

19.2 Option not to submit the guarantee	21

19.3 Failure to establish the guarantee	22

19.4 Warranty Enforcement	22

20 Quality control	22

21 Personal fulfillment of obligations	22

22 Mora	22

23 Penalties	22

24 Import	23

25 Reception	23

26 Termination	23

27 Return of the performance bond	24

28 Payments	24

ANNEX I	25

Declaration template for ASSETS that qualify as national	25

ANNEX II	25

Declaration template for SERVICES (WITH Supply of goods) that qualify as national	25

ANNEX III	26

Special Conditions	26

The definitions of variant, alternative, and modification in relation to a bid are defined in Section 1, "Single Set of General Terms and Conditions for Supply and Non-Personal Services Contracts," Article 10.2. The key aspect in this definition is the identity of the product. If a bid, while meeting the requirements of the tender specifications, maintains the identity of the product but presents some variation or difference, it is considered a variant.	32

When we refer to alternatives, the identity of the product is not maintained; it is another product that allows the objective of the call to be met.	32

ANNEX IV	49

Offer Form	49

Quantity and Price Sheets (a)	50

Support and Maintenance Service (b)	50

Related Services (c)	50

Shipping details form (REQUIRED)	51

ANNEX VI	52

Forms Art. 9.1 a) I) 1. Section II	52

Bidder's experience	52

ANNEX VI	53

Forms Art. 9.1 c) I) 3. Section II	53

Manufacturer's experience	53

ANNEX VII	54

Technical specifications	54

2. CHARACTERISTICS OF THE TELEMETRY SERVICE	55

3. TECHNICAL CHARACTERISTICS OF THE TELEMETRY DEVICE	56

4 CHARACTERISTICS OF DATA RECEPTION AND SOFTWARE APPLICATIONS	58

4. CHARACTERISTICS OF THE TELEMETRY EQUIPMENT INSTALLATION	61

6 MAINTENANCE CHARACTERISTICS	62

5. CHARACTERISTICS OF DRINKING WATER METERS	62

6. SAMPLES	69

7. CONDITIONS FOR RECEIPT OF THE TENDER	69

8. METER QUALIFICATION TESTS	72

9. QUALIFICATION TESTS OF SMART METER TELEMETRY DEVICES	74

10. FROM THE LIST OF CONNECTIONS TO TELEMEDIR	75

11. ON THE TRANSFER OF INFORMATION	75

12. REQUIREMENTS FOR PERFORMING THE QUALIFICATION TESTS OF THE METERS	75

ANNEX VIII	78

Declaration of gender equality	78

ANNEX IX	78

COMMITMENT TO CONFIDENTIALITY	79

APPENDIX X	81

Sworn Statement Art. 46 of the TOCAF	81

Annex XI	82

Sworn statement of Occupational Safety and Health	82

ANNEX XII	85

Sworn statement of NOT being registered as a Delinquent Alimony Debtor.	85

# Section I

# Single Set of General Terms and Conditions for Supply and Non-Personal Services Contracts

# 1. General Provisions

# 1.1 Scope of Application

TheThe rules contained in this regulation constitute the Single Set of General Terms and Conditions (hereinafter, Single Set) for Supply and Non-Personal Services Contracts, in the cases of contracts whose amounts exceed the limit established in Article 47 of the TOCAF, except for procedures that require special regulation.

# 1.2 Hierarchy of Norms

ANDThe Terms and Conditions document (hereinafter, the Special Terms and Conditions) may only modify the provisions of this document that it expressly authorizes.

# 1.3 Calculation of Time Limits

ItThe terms set out in this regulation will be calculated in working days, and the day of notification, summons or service will not be counted.

# 1.4 Notifications

TodThe notification made by the Administration will be done in person, by registered telegram, fax, email, or other suitable means of communication according to the data provided in the Single Registry of State Suppliers.

# 1.5 Communications

AllCommunications will be made at the address or through the means indicated in theFoldor Private.

# 1.6 Competent jurisdiction

PoBy the mere fact of appearing, it will be understood that the offeror makes express recognition and manifests his willingness to submit to the Laws and Courts of the Eastern Republic of Uruguay.

# 2Publication of the call

ANDIt is mandatory to publish the call for competitive procedures and the Special Specifications on the State Procurement and Contracting website, complying with sufficient advance notice where applicable, without prejudice to other means that the Public Administration deems appropriate.

ANDIn the case of public tenders, the specific regulations on the matter must be complied with, and the call for tenders must also be published in the Official Gazette.

# 3. Clarifications of the Specifications

TheRequests for clarification may be submitted by purchasers of the Special Tender Documents in writing within the timeframe and by the means specified therein. Once this period has expired, providing further clarifying information will no longer be mandatory.

TheAll inquiries must be specific and must be answered by the Administration within the timeframe established in the Special Tender Documents, communicating them to all interested parties through their publication on the State Procurement and Contracting website. In cases where the Special Tender Documents have been purchased, the response to the inquiry will also be communicated personally to both the potential bidder making the inquiry and to all those who have purchased said document.

# 4. Modification of the Special Specifications

LThe Administration may, before the deadline for submitting bids, modify the Special Tender Documents, either on its own initiative or in response to a query or observation made by a private party. All interested parties will be notified of the modifications made no less than two days before the deadline for receiving bids, personally to the party who made the observation and to those who have acquired tender documents, and communicated to other interested parties through the State Procurement and Contracting website.

LThe Administration will have the discretionary power to extend the date or time of the opening of the procurement procedure, in order togivespotential bidders will be given additional time to prepare their bids, and must communicate in the manner indicated in the previous paragraph.

# 5Request for extension of bid opening

AnyThe supplier may request an extension of the Bid Opening. This request must be submitted through the means indicated in the Special Tender Documents and within the timeframe specified therein.

LThe extension will be decided by the Administration at its sole discretion and must be personally notified to the interested party. If the Opening date is extended, those who have purchased tender documents must also be personally notified, and the new date must be published on the State Procurement and Contracting website for the information of other interested parties.

# 6. Administration Reserve

LThe Administration may extend the Opening, or cancel the call at any time.

ANDIn cases of extension of the Opening, the Administration will publish the new date on the State Procurement and Contracting website, and where appropriate, will personally notify those who have acquired the Tender Documents; it must also return the bid maintenance guarantees and the cost of the Tender Documents at the request of interested parties who, in light of said extension, decide not to submit proposals.

ANDIn the event that the Call for Bids is cancelled, the decision will be published immediately on the State Procurement and Contracting website, and, where applicable, personal notification will be sent to those who have purchased the tender documents. Consequently, the Administration will automatically refund the cost of the tender documents and any deposited guarantees, if applicable.

# 7. Standardization of articles

Whenor if a good or service is standardized, the reference to the applicable standardized quality standards, included in the Special Specifications, will make compliance with them mandatory for the bidders and their quality control will be carried out in the manner provided therein and in said Specifications.

# 8 Formal Requirements for Bids

# 8.1 Writing

Offers must be written clearly and precisely, in Spanish and in accordance with the provisions of Article 63 of the TOCAF.

ANDThe Special Specifications may authorize the submission of brochures, catalogs, etc. in a foreign language.

LThe Administration reserves the right to demand its translation into Spanish at any time.

# 8.2 Home

TheThe proposing firms must establish a domicile for the purposes of the procedure and subsequent acts.

Whenor foreign companies are presented, firms that are not established in the country may act through a representative, in which case the representative must be registered in the National Registry of Representatives of Foreign Firms, created by Law No. 16,497 of June 15, 1994 and, if awarded the contract, must establish a domicile therein.

# 8.3 Identification

TheProposing firms must indicate the names of the owners that make it up if they are personal companies or of their authorized representatives if they are public limited companies.

ANDIn cases where this Single Specification applies, corporations must add the list of members of the boards of directors.

# 8.4 Compliance with formal requirements

PairThe principles established in Article 149 of the TOCAF will be applied to the assessment of compliance with the formal requirements.

# 9. Requirements for submitting bids

ANDThe Special Specifications may not impose on the bidder any requirement that is not directly linked to the consideration of the object of the contract and the evaluation of the offer, reserving only the successful bidder the administrative burden of demonstrating that they are in formal conditions to contract, without prejudice to any criminal, civil or administrative liabilities that may apply.

ANDThe Special Specifications may not require documentation that can be accessed through the RUPE or any other freely accessible information system.

# 9.1 Documents included in the offer

LThe offer will consist of the following documents:

to.   	Antecedents of the bidder, in accordance with what is established in the Special Specifications, both with respect to the company and the object of the tender.

b.   	Lthe proposal in all matters relating to the object of the procurement procedure, including the declaration required in point 10.5.

c.   	Documentrequired in the Special Specifications.

# 9.2 Requirements prior to submitting the offer

Whenor as applicable, the bidder must:

- Depositr the guarantee of maintaining the offer when the Administration declares the obligation of the same in accordance with the provisions of art. 64 of the TOCAF.

b.   	Acquiredr the Specification, when it has a cost.

# 10. Validity of offers

# 10.1 General considerations

ItBidders must submit their proposals in accordance with the provisions of this regulation and the conditions and form established in the Special Specifications, and may add any other complementary information, but without omitting any of the essential requirements.

For these purposes, only those aspects whose omission may alter or prevent the due equality of the bidders or the consideration of the proposals are considered essential, in accordance with the principles established in art. 149 of the TOCAF.

LThe initial acceptance of a proposal will not be an obstacle to its subsequent invalidation if defects are found later that violate the legal requirements or those essential requirements contained in the respective document.

Offers that contain substantial departures from these requirements will not be considered.

Saveor any contrary indication made in the offer, it is understood that it conforms to the conditions contained in the Specifications, and that the proposer is committed to its full compliance, without prejudice to the power of the Administration to establish in the bases of the call requirements for express declaration by the offerors, in which case they must comply with said requirement.

# 10.2 Object

TheBids must reasonably conform to the description of the required item, taking into account its technical complexity. The technical specifications set out in the tender documents will be considered indicative for achieving the objective of the call for bids.

SIf the Special Specifications authorize it, modifications, alternative solutions, as well as variants may be presented, even without submitting the basic proposal.

San offer will be considered to be:

to.	Athe modificationwhenWhile maintaining the identity of the object tendered and presenting non-substantial deviations, it also allows the requirements that originated the call to be met.

b.   	Aan alternative solutionwhenSince it is an option, it also allows the requirements that originated the call to be met, provided that it does not undermine the prevailing principles in public procurement.

c.   	Aa variantwhen, the same present variety or difference, but maintaining the identity of the tendered object.

# 10.3 Price and quotation

ANDThe Special Specifications will establish the conditions of purchase locally, abroad or interchangeably, governed by the INCOTERMS clauses -International Chamber of Commerce (ICC)- applicable in the version in force at the date of the call for tenders as appropriate.

ANDThe bidder will indicate the prices of the goods and services that it proposes to supply under the commercial conditions established in the Special Specifications.

SayingPrices may not be subject to confirmation or conditions in any way. If the Special Tender Specifications do not precisely determine the quantity to be purchased, bidders may propose different prices for different quantities of units awarded.

ANDThe bidder will indicate the prices of the goods and services that it proposes to supply under the commercial conditions established in the Special Specifications, which will establish the currency or currencies in which it must be quoted and the payment instruments that can be used.

10.3.1 Discrepancies

SIf there is a discrepancy in the offer between the unit prices and the total prices, the prices established in the unit prices will prevail.

Whenor if there is a difference between the amount written in numbers and in words, the amount written in words will prevail.

Todor this without prejudice to the Administration's power to grant a maximum period of two working days in cases where discrepancies occur due to obvious or minor errors, which will operate provided that the equality of the bidders is not altered, in accordance with the provisions of article 65 paragraph 7 of the TOCAF

10.3.1 Discrepancies

LThe obligation to quote a firm price without adjustments, or parametric formulas for updating prices, will be included in the clauses of the Special Specifications.

In the absence of a specification in the Special Tender Document, bidders quoting adjustable prices must establish a parametric formula that reflects the cost structure of the product or service offered, of the following type:

P1 = P0 (aA1/A0 + bB1/B0 + … + mM1/M0 + n)

where:

P0 = amount of the proposal

P1 = updated amount of the proposal

a, b,...m, n = incidence coefficients of the parameters.

The sum of these coefficients must equal 1.

n = coefficient representing the supply component whose price is not subject to adjustment.

A, B,...M = parameters or indices of the main components of the bidder's costs.

ItParameters with subscript 0 take the value in effect on the last business day or month prior to the date of opening the offer, and parameters with subscript 1 take, for supplies, the value in effect on the day or month prior to the date of total or partial delivery of the goods and, for the provision of services, the weighted average of the parameter value in the billing period.

Whenor if delivery is made within the contractual period, the price adjustment will be calculated upon actual delivery.

SIf the aforementioned delivery is made outside of said period for reasons attributable to the supplier or its subcontractors, the price adjustment will be calculated using the contractually agreed delivery date. However, if this implies a greater expenditure for the Administration, it will be adjusted to the actual delivery date.

The same parametric formula can be applied in the case of late payment.

ItThe values ​​of all parameters included in the adjustment formula must be documented by official publications or publications deemed reliable by the Administration. These publications must be clearly defined in the offer, and if they are from abroad, a copy of each must be included.

ANDIn the case of supplies officially regulated in the country, the Administration will not pay prices or increases higher than those decreed by the competent authority, even if the parametric formula raises these to a higher value.

Likewise, when there are provisions containing clauses that limit the transfer of increases to prices, these will be taken into account.

# 10.4 Taxes

AllThe taxes that legally correspond to the contractor for the fulfillment of the contract will be considered included in the quoted prices.

ANDThe bidder, where applicable, shall itemize the amount of any taxes for which the administration acts as a withholding agent (Value Added Tax, Non-Resident Income Tax, or other applicable tax) from the total bid price. If the bidder does not expressly state this, these taxes shall be considered included in the bid amount.

TheThe creation, elimination or modification of taxes levied on the final stage of the marketing of goods or provision of services will be recognized in all cases in favor of the successful bidder or the Administration as appropriate.

# 10.5 Preference Regimes

# 10.5.1 General regime

ANDThe margin of preference for products that qualify as national versus those that do not qualify, established in Article 58 of the TOCAF, amendments and related provisions, will have the following scope, nature and calculation procedures:

YoThis will apply in cases of public tenders and abbreviated tenders, as well as in cases of exceptional purchases where such preference is appropriate, when the amount exceeds that established for the mandatory nature of this Single Tender Document. This amount is the one estimated by the Administration when approving the call for tenders.

iiThis will apply whenever there is parity of quality or suitability. Parity of quality or suitability between bids is considered to exist when they meet the technical requirements stipulated in the Special Specifications.

Nor will be applicable in the contracting and acquisition of goods or services, carried out by the Autonomous Entities and Decentralized Services of the industrial, commercial and financial domain of the State, intended for services that are in fact or in law in free competition regimes.

ESTATE

ANDThe margin of preference for goods that qualify as national will be 8% in price compared to those that do not qualify as national, according to the evaluation criteria determined in the Special Specifications.

ItBidders wishing to take advantage of this benefit must submit a sworn statement detailing the goods to be supplied that qualify as national (Annex I). The successful bidder, in accordance with this benefit, must present the corresponding certificate of origin issued by the Certifying Entities within a period not exceeding 15 business days from the notification of the award resolution. In the absence of a declaration for the purposes of this regime, the goods will be considered as non-national.

ANDIn the event that the certificate is not submitted within the established period or is denied, the award will be cancelled and will be given to the next best offer.

SERVICES

ANDThe preference margin for services that qualify as domestic will be 8% of the price compared to those that do not qualify as domestic, according to the evaluation criteria determined in the Special Tender Documents. When the service includes the supply of goods, the amount to which the preference margin will be applied will not include the price of those goods that do not qualify as domestic. For this purpose, the bidder must declare the percentage of the service price corresponding to goods that do not qualify as domestic (Annex II).

In the event of non-declaration of the aforementioned percentage, the present benefit will not be applicable.

Calculation formulas

ItComparative prices of products and services that qualify as national and those that do not qualify as such will be evaluated according to the following formulas, without prejudice to the consideration of the other criteria for evaluating offers:

- Bieneand services that do not include goods

PCN = PN - (PN x 0.08) PCNN = PNN

- Services that include goods

PCN = PN - PN x (1 - % BNN) x 0.08

Where

PCN = comparative price of the national product with the application of the preference to the national industry

PCNN = comparative price of the product that does not qualify as national

PN = price of the domestic product delivered to the buyer's warehouse

PNN = price of the product that does not qualify as national, delivered to the buyer's warehouse

%BNN = percentage of the service price represented by goods that do not qualify as national (declared by the supplier)

Whenor if the other evaluation criteria, established in the Special Specifications, have a monetary value assigned, this will be added to the comparative price.

ANDIn the case of goods, the price comparison between products that qualify as national and those that do not qualify, whether these are quoted locally or imported, will be carried out considering, either in a real or fictitious way, all the expenses required to place the products in the buyer's warehouses and under equal conditions.

The buyer's warehouses will be considered to be all the usual premises for receiving goods according to the characteristics of these goods, including workshops.

ANDThis comparison must include all applicable taxes (general tariffs, integration agreement tariffs, etc.), even those from which the Administration is exempt.

Nor the amounts corresponding to Value Added Tax will be included in the comparative prices.

# 10.5.2 Special regimes included in the Public Procurement Program for Development

10.5.2.1 Public Procurement Subprogram for the Development of MSMEs

LThe promotion of products that qualify as national versus those that do not, established in Articles 59 and 60 lit. A of the TOCAF, as amended and related, will have the following scope, nature and calculation procedures:

b1) 	Preferencea in the price

YoThis will apply when micro, small and medium-sized enterprises (hereinafter MSMEs) participate with goods of their own production as well as with services provided or performed directly by them, which qualify as national. For the purposes of being covered by the aforementioned subprogram, the companies must be included in one of the categories provided for in Decree No. 504/007 of December 20, 2007 and comply with the provisions of Decree No. 371/010 of December 14, 2010.

iiThis will apply whenever there is parity of quality or suitability. Parity of quality or suitability between bids is considered to exist when they meet the technical requirements stipulated in the Special Specifications. This will not apply to contracts and acquisitions of goods or services carried out by Autonomous Entities and Decentralized Services of the State's industrial, commercial, and financial domain, intended for services that are de facto or de jure subject to free competition regimes.

iiiThe preference margin for products and services that qualify as national products from micro and small businesses will be

8% and for medium-sized companies of 4% when they compete with each other or any of the categories or all of them against national products or services that do not qualify as MSMEs, and provided that there are no offers of products or services that do not qualify as national.

iv) The preference margin for products and services that qualify as national from micro and small businesses will be 16% and for medium-sized businesses 12% in any circumstance in which a product or service that does not qualify as national participates and its offer is valid.

vThe amount to which the preference margin will be applied for services from micro, small, and medium-sized enterprises that qualify as national and that includes the supply of goods will not consider the price of those goods that do not qualify as national. For these purposes, the Administration will take into account the percentages established in the certificate of participation in the public procurement program for the development of MSMEs issued by DINAPYME.

I saw) In the case of goods, the price comparison between products offered by companies that qualify as MSMEs and those that do not qualify, whether these are quoted locally or to be imported, will be carried out considering, either in a real or fictitious way, all the expenses required to place the products in the buyer's warehouses and under equal conditions.

The buyer's warehouses will be considered to be all the usual premises for receiving goods according to the characteristics of these goods, including workshops.

ANDThis comparison must include all applicable taxes (general tariffs, integration agreement tariffs, etc.), even those from which the Administration is exempt.

Nor the amounts corresponding to Value Added Tax will be included in the comparative prices.

vii) The comparative prices of products and services offered by companies that qualify as MSMEs and those that do not qualify as such will be evaluated according to the following formulas, without prejudice to the consideration of the other criteria for evaluating offers:

- BieneServices that do not include goods, provided by MSMEs

PCM = PM - (PM x B)

- Servicethat include goods, provided by MSMEs

PCM = PM - PM x (1 - % BNN) x B

Where:

PCM = comparative price of the MSME product with the application of the preference.

PM = price of the MSME product placed in the buyer's warehouses.

%BNN = percentage of the service price represented by goods that do not qualify as national according to the certificate of art. 5 of Decree No. 371/010.

B = preference in accordance with the preceding numerals iii) and iv).

Whenor if the other evaluation criteria, established in the Specifications, have a monetary value, it will be added to the comparative price.

In the event of non-declaration of the aforementioned percentage, the present benefit will not be applicable.

b2) 	Reservea market for MSMEs

Yo) Companies that meet the requirements set out in points i) and ii) of the preceding b1) may submit their bids for contracting or acquisition by explicitly invoking the Market Reservation mechanism.

ii) Through this mechanism the company must offer an amount equal to 10% of the total amount foreseen for the contract or acquisition.

iii) The company that invokes this mechanism may not submit another offer or proposal within the same bidding process.

iv) Without prejudice to the provisions of the following paragraph, 10% of the total value of the tendered item shall be awarded to the best offer invoking the Market Reserve mechanism. The remaining portion shall be allocated to the best offer.

vThis mechanism does not apply in the following cases:

to) when a company is the winner by application of the regime provided for in the preceding b1.

b) when the best offer under the Market Reserve mechanism exceeds by 16% or more the best offer submitted for the total amount tendered. The best offer is understood to be the lowest price or the one that obtains the best rating, as applicable, without prejudice to the possibility that another offer may be selected due to the application of the National Industry Preference (PIN).

c) in those exceptions where the authorizing officer of the corresponding expenditure considers the application of the Market Reserve mechanism impractical or inconvenient, in which case it shall:

1) Establish this exception in the Special Specifications, and

2) To justify their decision in all cases, with said justification being available to any interested party from the date of publication of the Tender.

d) when it is a purchase made under the provisions of subparagraph B and subparagraph C, numbers 1, 3 and following of Article 33 of the TOCAF.

I saw) The other price preferences provided for in section 10.5.1 and 10.5.2.1 will not apply to offers covered by the Market Reserve mechanism.

# 11. Offer maintenance guarantee

ANDThe bidder may provide the guarantee by means of a cash deposit or public securities, a bank guarantee or surety bond, or a surety insurance policy, for a fixed value in national or foreign currency that will be determined in the Special Specifications.

ANDThe tender documents themselves may stipulate that its formation is mandatory. Otherwise, the bidder may choose whether or not to form it.

ANDUnder no circumstances may guarantees be required for bids whose amounts are less than the limit of the abbreviated tender.

ANDThe Special Tender may establish different guarantees or exempt the bidder from their constitution when this is convenient for the Administration.

# 11.1 Execution

LThe guarantee may be enforced:

- Whenor the bidder withdraws their offer during their maintenance period.

b) When the successful bidder does not provide the guarantee of faithful performance of the contract in a timely manner, when applicable.

c) When the successful bidder refuses or fails to appear to sign the contract, having been notified to do so.

# 11.2 Application of fine

ANDIf the bidder chooses not to provide the bid security, under the same conditions as in the preceding paragraph, a fine of 5% of the maximum amount of their bid will be applied. The administrative act or resolution imposing the fine will constitute an enforceable instrument, without prejudice to compensation for any damages that such non-compliance may have caused to the Administration, and notification of the fact to the RUPE (Single Registry of Public Entities).

# 12 Presentation, Confidentiality and Opening of Bids

# 12.1 Presentation

LThe submission of bids may be made in person against receipt, or by mail, fax, online through the State Procurement and Contracting websites or other remote means of electronic communication as provided in the call, those that arrive outside the conditions established in the Particular Specification will not be accepted.

ANDThe safekeeping of the bids, in all cases, will be the responsibility of the contracting Administration, ensuring their confidentiality and inviolability until the time of opening.

12.2	Confidentiality

ANDThe bidder may declare the following information as confidential, duly specifying it:

*l	relative to its clients;

*l	that may be subject to intellectual property;

*l	that refers to the offeror's assets;

*l	that includes facts or acts of an economic, accounting, legal or administrative nature, relating to the offeror, that could be useful to a competitor;

*l	that it is protected by a contractual confidentiality clause;

*and	thatof a similar nature in accordance with what is established in the Special Specifications.

LThe information declared as confidential must be submitted separately from the rest of the offer, either in an envelope or as a digital file. In all cases, it must be identified as “Confidential Information”.

ANDThe bidder who submits confidential information must submit in the bid a “non-confidential summary” of said information, which is brief and concise (Decree No. 232/010 of August 2, 2010).

NPrices, descriptions of goods and services offered, and general terms and conditions of the offer will not be considered confidential.

12.3	Opening

LThe opening of bids will be conducted publicly at the place, date, and time specified in the publications, in the presence of officials designated for this purpose by the bidding Public Administration and the bidders or their representatives who wish to attend. In the case of electronic opening, it will be carried out automatically, and the minutes will be sent to the bidders' email addresses.

ANDIn this act, no proposal may be rejected without prejudice to its subsequent invalidation, and it will be checked whether the guarantee has been established, where applicable.

LThe initial acceptance of a proposal will not be an obstacle to its rejection if defects are subsequently found that violate the legal requirements or those substantial requirements contained in the respective Specifications.

SSubstantial deviations will be considered those that cannot be remedied without materially altering the equality of the bidders.

ItBidders may request the Administration to provide them with a copy or electronic file of the submitted bids for analysis. The cost will be borne by the requesting party.

Openor the act may not introduce any modification to the proposals, although the bidders or their representatives may make any statements, clarifications or exceptions they wish.

Finishor the act will be recorded in a detailed report which will be signed by the acting officials and the bidders who have submitted records therein, as well as by the other bidders who wish to do so.

# 13 Defects, shortcomings or errors in the offers

LThe Administration may grant proponents a maximum period of two days to remedy defects, formal deficiencies or obvious or minor errors; this period may be extended for suppliers from abroad and in that case it will apply to all bidders.

ANDThe aforementioned deadline will not be granted when, in the opinion of the Administration, the equality of the bidders is materially altered, or when the existence of any maneuver intended to obtain an undue advantage is presumed.

# 13.1 Advisory Committee on Awards

TheThe offers will be studied by an Advisory Committee on Awards, which is responsible for providing reasoned information on the admissibility and suitability of the offers.

For the purpose of producing its report, the Advisory Committee on Awards may:

1.	Requestany bidder may provide the necessary clarifications, and may not request or allow the content of the offer to be modified.

2.	Collectsand other advice, expressly stating that those who intervene in such capacity must recuse themselves when there is any verifiable circumstance that may affect their impartiality.

Finally, the Adjudication Advisory Commission will issue its report, which must contain the grounds that support its admissibility judgment and its choice of the most convenient offer, explaining the reasons for it.

ANDThe decision must be made on each item, unless a different criterion is established in the Special Specifications.

ANDThe opinion of the Adjudication Advisory Commission does not generate any rights in favor of the bidders.

# 13.2 Admissibility of offers

LThe acting Administration will carry out the admissibility analysis of the proposals, which implies determining whether the offers submitted comply with the current regulations on the matter, which includes, among others, the provisions of the current State Accounting and Financial Administration Text, as well as those contained in the applicable Single Specification and in the Special Conditions that govern the procedure in question.

# 13.3 Evaluation

ANDThe Special Conditions document must establish the evaluation criteria, according to one of the following systems:

- Determinationn of the main factors (quantitative and/or qualitative) that will be taken into account to evaluate the offers, as well as the weighting of each one for the purpose of determining the rating assigned to each offer, where applicable (Arts. 48 Lit. C and 65 final of the TOCAF).

b) 	Usen of the price factor exclusively, or other quantitative element, which will be applied only to those who meet the minimum requirements set out in the terms of the call (Art. 68 paragraph 3 of the TOCAF).

# 13.4 Offer Improvements

SIf the comparison made reveals two or more offers that receive a similar rating or have a similar price, depending on the evaluation criteria applied, the Adjudication Advisory Commission, or the ordering authority, as the case may be, may invite the respective bidders to improve their offers, granting them a period of no less than two days to submit them.

SOffers will be considered to have a similar rating if they do not differ by more than 5% (five percent) from the highest rated offer according to the quantified criteria defined in the Terms and Conditions.

SOffers will be considered similarly priced if they do not differ by more than 5% (five percent) from the lowest price.

ANDIn the event that, as a result of the improvement of offers, two or more offers are equal in value, a downward price bidding process may be promoted between them, the award may be divided between two or more bidders, or a draw may be held.

# 13.5 Negotiations

ANDThe Special Specifications may establish that if there are similar offers in the terms defined by Article 66 of the TOCAF, negotiations may be entered into with the respective bidders, in order to obtain better technical, quality or price conditions.

SOffers will be considered similar when their rating is similar or their price is similar, according to the evaluation criteria set out in the terms of the call.

# 13.6 Clearly Inconvenient Price

SIf the prices of the offer(s) received are considered manifestly unfavorable, the computer or, where appropriate, the Advisory Committee for Awards duly authorized by it, may directly request improvements in their technical conditions, price, deadline or quality.

# 13.7 View of the proceedings

ANDIn any competitive procurement procedure whose value exceeds four times the maximum amount for the corresponding abbreviated tender of the agency, once the decision of the Advisory Committee on Awards has been obtained and before the award or rejection of the offers for departure from the rules or pre-established conditions, the Administration must give the bidders access to the file, except for that confidential information contained in the offers with respect to which the current regulations on the matter have been complied with to be considered as such (Law No. 18,381 and Arts. 28 to 32 of Decree No. 232/010) and must have been presented in that character (Art. 10 Law No. 18,381).

For this purpose, the file will be made available for a period of five days, and the interested parties will be notified within twenty-four hours of the aforementioned procedure being arranged.

ItBidders may submit in writing, within the period established in the preceding paragraph, their considerations regarding the process completed to date and the opinion or report of the Advisory Committee on Awards. It will not be necessary to wait for this period to elapse if the interested parties state that they have no considerations to make.

ItAny written submissions or challenges made at this stage by interested parties will be considered by the Administration as a petition, in accordance with the provisions of Articles 30 and 318 of the Constitution of the Republic, to be taken into account when issuing the award decision, and regarding which petition there must be a reasoned report.

ANDThe interested party will send a copy of the document or appeal submitted to the Court of Auditors, having a period of forty-eight hours for this purpose.

# 14 Award

# 14.1 Dictation of the act

Receiveor the report of the Advisory Committee on Awards and once the hearing has been completed, if applicable, the competent officer will have the tentative period established in the contracting procedures of the body within which it must award, declare void or reject all offers, which must be published on the website of State Purchases and Contracts, as well as request further information or follow other courses of action for reasons of good administration.

ANDThe computer will award the contract to the offer most advantageous to the interests of the Public Administration and the needs of the service, taking into account the opinion of the Advisory Committee on Contract Awards. If the computer deviates from this opinion, the grounds for the differing decision must be expressly stated.

# 14.2 Formal requirements

AOnce the award decision has been issued and prior to its notification, the successful bidder will be required, within the period determined by the administration, to submit all the formal requirements that correspond to prove that it is in a position to contract with the State.

ANDUnder no circumstances may documentation be requested that can be accessed through the RUPE or any other freely accessible information system.

# 15 Contract increase or decrease

LThe Administration reserves the right to unilaterally increase or decrease the services covered by the contract up to a maximum of 20% and 10%, respectively, respecting the original conditions and modalities.

AlsoThey may not be increased or decreased in greater proportions than those indicated, with the prior consent of the successful bidder, respecting the conditions that govern the contract.

In no case may the increases exceed 100% of the object of the contract.

ItThe percentages referred to above are applied to each of the services covered by the contract.

TheResolutions regarding contract extensions must be published on the State Procurement and Contracting website.

# 16 	Notification

ANDThe administrative act that orders the award or rejection of bids will be notified to all bidders.

# 17 	Returnn of the offer maintenance guarantees

Whenor if all offers have been rejected, the bid maintenance guarantees provided will be returned.

AwardedOnce a proposal has been submitted and the contract has been perfected in accordance with Article 69 of the TOCAF, the bid maintenance guarantees provided to the remaining bidders will be returned.

TOThe successful bidder's bid maintenance guarantee will be returned once the contract has been perfected and the performance bond has been established, if applicable.

# 18 Contract completion

ANDThe contract will be perfected with the notification to the bidder of the act that orders its award issued by the competent authority, after the intervention of the Court of Accounts of the Republic.

LThe administration may establish in the Special Specifications or in the award resolution, the written form or formal requirements to be met after the issuance of the aforementioned act or if there are other suspensive conditions that prevent the perfection of the contract.

# 19 	I guaranteedto faithfully fulfill the contract

# 19.1 Constitution

Whenor if the total awarded amount exceeds 40% of the limit for the abbreviated bidding process established in Article 33 of the TOCAF, the successful bidder shall provide a guarantee equivalent to 5% of the award amount. This guarantee may be increased by withholding subsequent payments, which must be stipulated in the Special Tender Documents.

ANDThe successful bidder will provide the guarantee by means of a cash deposit or public securities, a bond or bank guarantee, or a surety insurance policy.

LThe Administration may establish in the Special Specifications, guarantees or amounts different from those expressed above, determine that they are mandatory when the contract justifies it or exempt from the presentation when it is convenient for it.

For the purpose of determining the amount of the guarantee, public securities will be considered at their nominal value, unless the Administration considers that this is substantially higher than their market value.

Whenor if the guarantee is constituted in foreign currency, the interbank selling and arbitrage exchange rate in force at the close of the Exchange Desk of the Central Bank of Uruguay on the day prior to the constitution of the guarantee will be used.

# 19.2 Option not to submit the guarantee

ANDThe Special Tender may establish the right of successful bidders to choose not to submit a guarantee. If this right is exercised, the breach of contract will be penalized with a fine equivalent to 10% (ten percent) of the award amount.

# 19.3 Failure to establish the guarantee

LFailure to establish the guarantee of faithful performance of the contract in a timely manner, in cases where it is required, will cause the rights of the successful bidder to expire, and the Administration may make use of the power established in the final paragraph of art. 70 of the TOCAF.

# 19.4 Warranty Enforcement

LThe guarantee of faithful performance of the contract may be executed in the event that the successful bidder fails to comply with the contractual obligations.

# 20 Quality control

LThe Public Administration may carry out, directly or through standardization and certification bodies, quality controls of the products offered or contracted.

ANDIn cases where the State Procurement and Contracting Agency develops quality standards for products and services, these standards must be taken into account.

# 21 	Complianceor personal obligations

ANDThe contractor shall personally fulfill the obligations assumed. The assignment of the contract may only be verified upon a duly justified request from the contractor and with the written consent of the contracting entity, after demonstrating that the assignee provides the same guarantees of performance, and the fact shall be registered in the RUPE.

ANDIn all cases the assignee must prove that it has the capacity to contract with the State and that it meets the requirements demanded to contract with it.

AlsoAuthorization from the contracting body will not be required to subcontract in whole or in part.

# 22 Mora

LDefault is established by the breach of contractual obligations and will occur by operation of law by the mere expiration of the established terms, without the need for any judicial or extrajudicial interpellation.

# 23 	Penalties

TheThe penalties for late payment may be:

TO)	orn percentage of the total contract amount, or the corresponding share, for non-compliance.

B) 	orn percentage of said amount or share, proportional to the period of non-compliance.

ANDThe Special Specifications will determine these percentages and their maximum limit.

C) 	suma fixed.

TheThe penalties for late payment will be applied regardless of any compensation for damages that may be due.

ANDIn the event that the Administration establishes in the Special Specifications the right of the successful bidders to opt not to present a guarantee of faithful performance of the contract, and the contract is breached, the administrative act that imposes the fine will be an enforceable title, without prejudice to the compensation of any damages that said breach may have caused to the Administration and the communication of the fact to the RUPE.

# 24 	Import

ANDIn the case of goods to be imported by the Administration, the conditions and requirements to be met by the bidders and awardees will be established in the Special Specifications.

# 25 	Reception

ANDThe successful bidder must deliver the goods or provide the services under the conditions and deadlines stipulated in the contract.

The Administration will carry out the relevant quality controls. If any item fails to meet the requirements, the supplier, at its own expense and within the timeframe established in the Special Specifications, must replace it with the appropriate item. Acceptance will not be processed until this requirement has been met, without prejudice to the application of any applicable fines.

SIf, after the aforementioned deadline, the supplier has not made the replacement, nor justified to the satisfaction of the Administration the delay caused, the Guarantee of Faithful Compliance of the Contract may be executed or, if the successful bidder has opted not to present a guarantee, in accordance with the provisions of Article 64, paragraph 4 of the TOCAF, the fine provided for in the aforementioned article may be applied, communicating to the RUPE.

# 26 	Rescission

LThe Administration may unilaterally terminate the contract due to serious breach by the successful bidder, and must notify them accordingly.

NHowever, it will occur automatically due to the supervening disqualification for any of the reasons provided for in the law.

LThe termination due to breach by the contractor will entail their liability for the damages caused to the Administration and the execution of the guarantee of faithful performance of the contract or the application of the fine provided for in art. 64 paragraph 4 of the TOCAF, in the event that the bidder has opted not to present a guarantee, without prejudice to the payment of the other fines that correspond, making the communication to the RUPE.

ANDIn the event of contract termination before its physical execution begins, the contracting authority may award the contract to the next highest bidder in that procurement process, subject to their acceptance. If the bidder does not accept, the order of priority resulting from the evaluation of the offers may be followed.

# 27 	Returnn of the guarantee of faithful performance of contract

LThe guarantee of faithful performance of the contract will be returned ex officio by the Administration, once compliance with all contractual obligations has been verified.

# 28 	Payments

ANDThe Special Specifications will establish the conditions and methods of payment. In all payments, the Administration may deduct from the amount to be paid the sum corresponding to any debt that the contractor may have with the contracting body, relating to the contract.

# ANNEX I

# Declaration template for ASSETS that qualify as national

ANDThe undersigned (NAME OF THE PERSON WHO SIGNS AND HAS SUFFICIENT POWERS TO REPRESENT THE OFFERING COMPANY) on behalf of (NAME OF THE OFFERING COMPANY) declares that the goods included in the offer detailed below qualify as national in accordance with current regulations.

PoTherefore, it requests the application of the benefit enshrined in Article 58 of the TOCAF.

____________________

Authorized signature

# ANNEX II

# Declaration template for SERVICES (WITH Supply of goods) that qualify as national

ANDThe undersigned (NAME OF THE PERSON WHO SIGNS AND HAS SUFFICIENT POWERS TO REPRESENT THE OFFERING COMPANY) on behalf of (NAME OF THE OFFERING COMPANY) declares that its offer qualifies as national in accordance with the provisions of art. 8 of Decree No. 13/009.

It also declares that the service(s) offered include the supply of goods and those that DO NOT QUALIFY AS NATIONAL represent XX% of the offered price (if there are several services offered, the percentage must be detailed in each case).

PoTherefore, it requests the application of the benefit enshrined in Article 58 of the TOCAF.

____________________

Authorized signature

# ANNEX III

# Special Conditions

| 1.5 | Communications It is added: Communications to OSE Communications to OSE will be made to the OSE Bidding Office Address: Av. San Martín 3235 - Montevideo - Uruguay Email: licbienesyprodq@ose.com.uy OSE Communications OSE communications will be sent to the email address of the interested party registered in the RUPE. |
| --- | --- |
| 1.6 | Competent jurisdiction It is added: Judicial jurisdiction For all legal and extrajudicial purposes related to these Terms and Conditions, the bidding process of which they form part, and the contractual relationship to be formalized as established in Article 69 of the TOCAF (Consolidated Text of Accounting and Financial Administration Regulations), it is established that any legal proceedings initiated will be submitted to the Ordinary Courts of Justice of the Department of Montevideo, as determined by the relevant court and subject matter. The submission of a bid will necessarily imply acceptance of this extension of jurisdiction, as well as all the conditions established in these Terms and Conditions. |
| 3 | Clarifications of the Specifications It is added: Requests for clarification may be submitted in writing at least 7 business days before the date set for the opening of bids. This period will be calculated from the day after the submission of the application. Once this period has expired, it will no longer be mandatory to provide further clarifying information. The application will be addressed to the Bidding Office by the following means: In person at the Bidding Office: San Martín 3235, Montevideo, Uruguay Email: licbienesyprodq@ose.com.uy The answers to the queries made will be published on the State Procurement Regulatory Agency's website, within a period of up to 2 business days prior to the opening ceremony. |
| 5 | Request for extension of bid opening It is added: The request for an extension of the opening of bids may be submitted by any interested party, and must be done in writing, addressed to the OSE Bidding Office, at least 7 business days before the date set for that act. The means to request it are as follows: OSE Bidding Office, Av. San Martín 3235, CP 11.700, Montevideo, Uruguay Emaillicbienesyprodq@ose.com.uy |
| 8.1 | Drafting It is added: For the presentation of brochures and/or catalogs, these may be written in Spanish, English or Portuguese; if they are written in other foreign languages, they must be submitted translated into Spanish. |
| 9 | Requirements for submitting bids It is added: The Bidder will be the one who formalizes the offer, contracts and is bound to the Administration, whether acting on his own behalf, or through a representative. |
| 9.1a) | Documents included in the offer It is added: - Profile andbackground of the bidder: - The bidder will be a company that must have experience in the sale of goods or goods and services of remote measurement systems. For item 1, the information must be submitted by completing the Bidder's Experience form (Annex VI) and be accredited by a receipt issued by the client (public or private), with clarification by the same, that the delivery was fulfilled in accordance. The accreditation mentioned in the previous paragraph will not be necessary, insofar as the provisions refer to contracts with the Administration and declared in the bidder's Experience form (Annex VI). - If the bidder is the local (Uruguay) commercial representative of the offered supply (or regional if there is no national representative), a letter from the manufacturer accrediting that designation for each of the goods offered. - The bidder must indicate in the offer, mentioning the name of the company, its address and contact telephone number, who will provide support and maintenance to each and every component of the System and the Telemetry Service in accordance with the requirements of Chapters 2 and 6 of Annex VII – Technical Specifications. - The bidder must have a local representative who can perform maintenance on the supplied goods, as well as the installed software, in accordance with the requirements of Chapter 6 of Annex VII – Technical Specifications, and must indicate in the bid their name, address and contact telephone number. - Signed letter from the manufacturerauthorizing the bidder to submit a bid for the tendered supply in the quantity, characteristics and term offered for each of the goods. |
| 9.1b) | Documents included in the offer It is added: The following must be submitted: - Offer drafted in accordance with theAnnex IV and declarations of MSMEs and nationally classified goods (if applicable). - The prepared Schedule of Quantities and Prices (Annex V) and with the quotation conditions established in Art. 10.3 Price and quotation - Proof of delivery of samples as stipulated in the Technical Specifications (Annex VII), which may be sent up to 5 business days after the opening act to the email addresslicbienesyprodq@ose.com.uyindicating in the Subject reference: SAMPLE DELIVERY RECEIPT PUBLIC TENDER 26973 OSE reserves the right to request any additional information it deems necessary for the study of the offers. |
| 9.1c) | Documents included in the offer It is added: I) Manufacturer Identification and Background: The bidder must provide documentation from the manufacturer to prove: - Identification of the manufacturer and the manufacturing plantof each of the goods offered, including web address and contact email. - ISO 9001:2008 or 2015 CertificationThe certification must be valid and in effect at the manufacturing plant of the offered meter, and its scope must cover the design and manufacturing processes. The certification must be issued unequivocally by an accredited certification body independent of the manufacturer and/or the group to which the manufacturer belongs. Only certificates issued in Spanish, English, or Portuguese will be considered. Certificates written in other languages ​​must be duly translated into Spanish. - It must be demonstrated, through a receipt issued by the manufacturer, that they have sold goods identical or similar to those offered, for a minimum quantity equivalent to 30% of the quantity requested for each of the offered goods. To do this, the Manufacturer's Experience form (Annex VI) must be completed. In the preceding article, the characteristic of “similar to the one offered” applies only to the telemetry device and not to the meter, and refers to the data communication technology. The accreditation mentioned in the preceding Article number 3 will not be necessary, insofar as the provisions refer to contracts with the Administration and declared in the Manufacturer's Experience form (Annex VI). II) Identification, background and technical characteristics of each supply offered: The offer must include: - If the bidder is not the manufacturer, they must submit a signed letter from the manufacturer of the offered goods, confirming the bidder's status as a representative of the offered supply. Unbranded products will not be accepted under any circumstances. - If the offeror is neither the manufacturer nor the representative of the offered item: - Submit a signed letter from the manufacturer or representative (or distributor) authorizing the bidder to submit a bid for the tendered supply in the quantity, characteristics and term offered. - Identification of the representative or distributor (name, address, country). - Supporting documentation that links the representative or distributor to the manufacturer of the offered item. - Each item offered must have the brand engraved or printed on the piece; labels or any other element attached to the item offered are not acceptable. - Catalogs and/or data sheets with technical specifications and graphic elements of the integrated smart meter, both regarding its characteristics as a potable water meter and its remote metering features. If feasible, include an exploded view indicating internal components and materials. The information must be presented in Spanish, English, or Portuguese. - Certificate or documentation that proves the guarantee of all goods offered. - A note signed by the manufacturer certifying that the capacity of the batteries installed in the integrated smart meters will have a minimum autonomy of 10 years under the operating conditions described in Chapter 3 of Annex VII. - A current certificate of suitability for contact with drinking water must be attached, in accordance with one of the following regulations: WRAS (Water Regulations Approval Scheme), NSF (National Sanitation Foundation), ACS (Attestation de Conformite Sanitaire), KTW (Kontakt mit Trinkwasser) or equivalent. - Certificate of type approval, which must comply with International Standard ISO 4064, I, II and III in its latest version, or its equivalent. This requirement is for reference purposes only, as the performance of the offered meters in the qualification tests will be the determining factor for approval. - Financial statements issued in accordance with appropriate accounting standards, corresponding to the last 3 (three) fiscal years, accompanied by a signed report from a certified public accountant (minimum scope limited review). OSE reserves the right to request, during the evaluation of the bids, an update of this information to a date more recent than the date of the opening of the tender. - Warranty for comprehensive smart meters - Letter from the manufacturer The offer must include a letter from the manufacturer stating that the integrated smart meters are guaranteed by the manufacturer against any manufacturing, material, and/or operational defects, including batteries, for a minimum period of 5 (five) years from the date of delivery of the goods to the Measurement Management Unit, as defined in Article 25 of this Annex. The guarantee must cover the replacement of the defective integrated smart meters in OSE by the successful bidder, who will be responsible for the removal of the defective ones and the delivery of the new ones at no cost to OSE, within a maximum period of 3 (three) months from the date on which OSE makes the claim. If you are a supplier, the warranty documents must be delivered along with the batch, and the numbering or numbering ranges of the integrated smart meters to which they refer must be specified, so that the Administration can exercise its rights in cases of quality deficiency of the integrated smart meters. Only documents issued in Spanish, English, or Portuguese will be considered. Those written in other languages ​​must be duly translated into Spanish. - Letter from the representative The offer must include a letter from the representative stating that the integrated smart meters are guaranteed by the representative against any manufacturing, material, and/or operational defects, including batteries, for a minimum period of 5 (five) years from the date of provisional receipt of the tender, as defined in Article 25, item c) of the section: “Receipt Conditions” of this Annex. The guarantee must cover the replacement of the defective integrated smart meters in OSE by the successful bidder, who will be responsible for the removal of the defective ones and the delivery of the new ones at no cost to OSE, within a maximum period of 3 (three) months from the date on which OSE makes the claim. If awarded the contract, the guarantee documents must be submitted along with the lot, and the numbering or numbering ranges of the integrated smart meters to which they refer must be specified, so that the Administration can exercise its rights in cases of quality deficiency of the integrated smart meters. Only documents issued in Spanish, English, or Portuguese will be considered. Those written in other languages ​​must be duly translated into Spanish. - Letter from the offeror The offer must include a letter from the bidder stating that the integrated smart meters are guaranteed by the representative against any manufacturing, material, and/or operational defects, including batteries, for a minimum period of 5 (five) years from the date of provisional receipt of the tender, as defined in Article 25, item c) of the section: “Receipt Conditions” of this Annex. The guarantee must cover the replacement of the defective integrated smart meters in OSE by the successful bidder, who will be responsible for the removal of the defective ones and the delivery of the new ones at no cost to OSE, within a maximum period of 3 (three) months from the date on which OSE makes the claim. If awarded the contract, the guarantee documents must be submitted along with the lot, and the numbering or numbering ranges of the integrated smart meters to which they refer must be specified, so that the Administration can exercise its rights in cases of quality deficiency of the integrated smart meters. Furthermore, if the bidder is not the manufacturer of the integrated smart meter or a duly authorized representative thereof, they must submit a letter of commitment assuming joint and several liability for the warranty of the goods to be supplied by the manufacturer. Failure to submit this letter in the required form will be considered a substantial departure from the requirements of these specifications. Only documents issued in Spanish, English, or Portuguese will be considered. Those written in other languages ​​must be duly translated into Spanish. - If the manufacturer, representative or contractor does not respond satisfactorily to the fulfillment of the Warranty within the stipulated period, it will be reported to the Single Registry of State Suppliers (RUPE) as a breach of contract. - General Project Implementation Plan (Operational Work Plan) The bidder must include in the offer a General Project Execution Plan which states the times established in the section: “Deadline and Delivery Plan” of Art. 25 of this Annex III. This Plan must include at least: - A breakdown of tasks, execution times and milestones, with the organization, sequence and execution schedule of all activities. - All graphics (e.g., Gantt chart or other) and comments necessary for its correct understanding. |
| 9.2 | Requirements prior to submitting the offer It is added: To submit a proposal, bidders must: - Being registered in the RUPE (Single Registry of State Suppliers, Executive Decree No. 155/13), the admitted states of the registration process being the following: “IN ENTRY” or “ACTIVE”. - The signatory of the offer must be registered in RUPE and have sufficient powers to do so. - Have a valid Work Accident and Occupational Disease Insurance established by Law 16074. - Deliver the samples in accordance with the Technical Specifications (Annex VII). |
| 10.1 | General Considerations It is added: The offer maintenance period is set at 180 calendar days from the opening of the Tender. After that period, the offers will be considered valid until the execution of the contract begins. If the bidder is not interested in maintaining their bid for a period longer than the one set, they must submit a note stating the withdrawal of the bid, provided that it is received prior to the notification of the award. |
| 10.2 | Object The purpose of the tender is the acquisition of up to 50,000 12.7 mm ultrasonic smart drinking water meters with embedded firmware as part of the equipment, for installation by OSE in connections within the framework of the OSE Evoluciona Project, enabled for the capture and transmission of data through telecommunications technologies. For the purposes of this tender, the firmware is considered a constituent part of the meter, supplied by the factory and included in the equipment supply, and is not subject to separate contracting. The smart drinking water meters that are supplied must be integrated meters, that is, the telemetry device and the meter must be in a single unit. Smart meters must be configured and put into operation in the contracted Telemetry Service. OSE will be responsible for installing smart meters in all connections that will be affected by the Telemetry Service. The following details will be considered for the realization of the object: Batch; Category; Description; Unit; Amount. 1; 1; Supply of integrated smart meters (the telemetry device integrated into the meter body) for 13mm (1/2 inch) drinking water; A; 50,000. 2; Support and maintenance; Monthly; 60. 3; Related Services; 3.1) Factory reception service: Verifying Agent; Global; 1. 3.2) Factory reception service: OSE Technician; Global; 1. The following alternatives are accepted for this tender: No Variants are allowed for this tender: Yes (ONLY ONE VARIANT) # LThe definitions of variant, alternative, and modification in relation to an offer are defined in Section 1, "Single Set of General Terms and Conditions for Supply and Non-Personal Services Contracts," Article 10.2. The key aspect in this definition is the identity of the product. If we are dealing with an offer that, while complying with the requirements of the tender, maintains the identity of the product but presents some variation or difference, we are dealing with a variant. # When we refer to alternatives, the identity of the product is not maintained; it is another product that allows the objective of the call to be met. Estimated number of connections to remote metering The number of 50,000 connections to be remotely measured indicated in the Object is approximate since it may vary due to additions and removals of drinking water services, Therefore, with regard to services, payment will be made for the number of connections actually installed and remotely measured that have passed the validation requirements set out in Section 9.1 of Annex VII. Timeframe and plan for delivery and provision of the serviceThese are those established in Article 25 of this document. Method of paymentis that established in Article 28 of this document. |
| 10.3 | Price and quotation It is added: Quotation method: This tender consists of 1 (one) lot made up of 6 items. Partial bids will not be accepted; bids must include 100% of the items comprising the Lot and 100% of the quantities indicated for each item in the Quantity and Price Schedules (Annex V). If a bid does not warrant quoting for an item due to the technology offered, this must be indicated by quoting a value of 0 (zero) for that item. Clarifications - In Section 1From the Schedule of Quantities and Prices (Annex V a1) or V a2)) integrated intelligent drinking water meters will be quoted, that is, only offers of drinking water meters that are integrated with the telemetry devices in a single body with the meter will be accepted - Item 2 of the Bill of Quantities and Prices - Annex V b), will quote the monthly cost of the support. This item will cover the Telemetry Service under the conditions established in Annex VII – Technical Specifications and will only apply to those telemetry connections that have complied with the provisions of Article 9.1 of Annex VII - Technical Specifications. - All costs related to the Related Services, that is, all costs related to factory reception described in Art. 9.2.1 of Annex VII, will be quoted in Item 3 using the form in Annex V e). - To quote all items (Items 1 to 3) the forms in Annex V – Quantity and Price Form will always be used accordingly, respecting their format. - The supply will include the boxes, pallets and packaging used for transport and storage purposes and will be the responsibility of the supplier and should not be quoted separately, but should be prorated in the prices of the offer. Quotation methods For Items 2 and 3 The bidder will submit a quote by completing the Quantities and Prices form, from Annex V b). For Item 1The bidder may choose one of the following quotation methods according to the Bill of Quantities and Prices (Annex V a1) and a2)): a1) Market quotation (for domestically manufactured or imported goods) a2) Quotation of goods to be imported by OSE. Offers of locally produced goods (domestic or imported) For local bids (of domestically manufactured goods or imported goods) the bidder will quote by completing the Quantity and Price Sheet, from Annex V a1). Offers of goods to be imported by OSE For offers of goods to be imported, the bidder will quote by mandatorily completing the Quantity and Price Sheet - Offers of goods to be imported by OSE, of Annex V a2). In the Quantity and Price List - Offers of goods to be imported by OSE, of Annex V a2) (MANDATORY), bidders are required to include in their quotation, at a minimum, the following breakdown: - Material description. - Amount offered. - Unit. - Currency of the quote. - Unit value CFR or CPT. - For sales in Free Zones or Customs Franchise Warehouses, the unit value of international insurance must be quoted. - For sales in Free Zone or Customs Franchise Warehouse, the CIF or CIP unit value must be declared, as appropriate. The destination of the quoted international freight must be one of the following locations: - Port of Montevideo or Carrasco International Airport. For either destination, offers will be accepted under Free Port or Free Airport conditions. - Any Free Zone or Customs Franchise Warehouse. - When it comes to land transport, the freight destination must be the delivery location. The destination of the international freight and the terms of sale must be declared. If international insurance is quoted and contracted, it must be for 110% of the declared INCOTERM value, payable to or endorsed to Obras Sanitarias del Estado, covering maritime, air, and land shipments, clause A of the IAL or similar, "all risks," plus war and strike, from the seller's warehouse to the buyer's warehouse. This document must include the details of the insurer's representative or contact in Uruguay and must be in the same currency in which the goods will be invoiced. In the case of sales from the Port of Montevideo or Carrasco International Airport, the quotation detailed in the Quantity and Price List - Offers for goods to be imported by OSE, in Annex V a2) must include the agency fees necessary to transfer the shipping documents to OSE. The successful bidder must provide the Foreign Trade Office with proof of payment of the local agency fees. Offers quoting a sale from a Free Trade Zone or Customs Franchise Warehouse may not include any cost for transporting the merchandise to this destination. The cost of delivering the merchandise to said destination will be the CIF/CIP price declared in the Quantity and Price Schedule - Offers for goods to be imported by OSE, of Annex V a2). The SHIPPING DATA FORM of Annex VI (MANDATORY) corresponding to item 1 and/or the shipping form of the variant of item 1 that is quoted must be submitted. For the consideration of the offer it will be essential to provide all the data indicated as mandatory, taking into account what is established in Art. 13.2 – Admissibility of the offer. Comparison of offers for goods to be imported by OSE: In addition to what is stipulated in this purchase, for the purpose of comparing the quotation of the goods in import condition, the information requested in the Quantity and Price Sheet - Offers of goods to be imported by OSE, of Annex V a2) and the SHIPPING DATA FORM of Annex VI will be used, based on the following criteria: - The Quantities and Prices Sheet - Offers of goods to be imported by OSE, from Annex V a2) and the SHIPPING DATA FORM, from Annex VI, must be completed. - In those cases where international insurance is not quoted, the Administration will consider for comparison a 1% according to the declared INCOTERM. - Where applicable, OSE will add 0.25% for the opening of the letter of credit, according to the declared INCOTERM or the minimum established if applicable. - In all cases, OSE will consider the DUA costs calculated based on the taxes that it must pay. - In all cases, OSE will consider the Customs Broker fees according to the current contract for this service at the time of the opening of this tender. - Where applicable, OSE will consider internal freight costs according to the current contract for this service at the time of the opening of this tender. - Where applicable, storage fees will be added (10 days from the arrival of the merchandise at the port or airport), and if applicable, 5 days of fees for container return delays and ANP (National Ports Administration) will also be added. For sales from the Port of Montevideo or Carrasco International Airport, agency fees will not be considered, as these must be included in the offer. Offering and payment currency: Item 1 For local bids (of domestically manufactured or imported goods), the bid and payment currency will be Uruguayan pesos, US dollars, or euros. Bidders should note that bids quoted in currencies other than those listed above will be rejected. For bids for goods to be imported by OSE, the currency for both bids and payment will be US dollars or euros. Bidders should be aware that bids quoted in any other currency will be rejected. Items 2 to 3 The currency for both bids and payments will be Uruguayan pesos. Bidders should be aware that bids for goods priced in currencies other than Uruguayan pesos will be rejected. Comparison currency The currency used for comparison will be Uruguayan pesos. The conversion from US dollars to Uruguayan pesos will be based on the interbank exchange rate for US dollars (banknotes) at the close of business on the day prior to the auction opening date. For the conversion from euros to Uruguayan pesos, the arbitrage rate established by the Central Bank of Uruguay on the same date will be applied. |
| 10.3.2 | Price update It is added: Only bids submitted in Uruguayan pesos will be subject to price adjustment. Bids submitted in foreign currency will not be subject to any adjustment and will be considered final. The adjustment formula that will govern the calculation of price variations for offers made in national currency is as follows: P= Po(IPC/IPCo) being: P; Updated price of the supply made.. Po; Supply offer price.. CPI; Value of the Consumer Price Index according to the National Institute of Statistics corresponding to the month prior to the delivery of the supply.. IPCo; Value of the previous item corresponding to the month prior to the date of opening of the tender.. Offers that modify or propose other offers will not be accepted, and will be considered rejected. For the purposes of settling price adjustments, the supplier must submit a note requesting approval of the price adjustment corresponding to the delivery of goods made in the month, in accordance with the deadlines indicated in this document, to the Measurement and Special Clients Management Office. This request must be made within a maximum period of 60 calendar days from the date of the invoice.of the service providedFailure to comply with the aforementioned deadline will cause the successful bidder's right to expire. In the event that the updated price of the supply (P) derives from a parameter less than one and for this reason an adjustment must be made that implies a downward correction, the Administration must notify the successful bidder and request the corresponding credit note. This notification must be made within a maximum of 60 calendar days from the date the invoice for the service provided is submitted. Failure to comply with this deadline will result in the Administration's right to claim being forfeited. Once the supplier has been notified of the approved price adjustment, they will have five calendar days to submit the invoice/credit note as established in Article 28 of this Section. After this period, if an invoice was due and it has not been submitted, it will be understood that this is the supplier's intention. If a credit note was due and it has not been submitted, the Administration will make the corresponding deduction. In all cases, the acceptance or rejection of settlements for price variations will be at the sole discretion of OSE. |
| 10.4 | Taxes It is added: All taxes legally payable by the successful bidder for the fulfillment of the contract will be considered included in the quoted prices. The applicable Value Added Tax (VAT) will be indicated, and if so, the applicable percentages; otherwise, it will be considered included in the quoted price. OSE will flatly reject any offers that establish tax transfers different from those provided for in said regulation. |
| 10.5 | Preference Regimes GOODS OR SERVICES THAT QUALIFY AS NATIONAL In the offer, those interested in benefiting from the preference margin must specify it and submit the Affidavit established in Art. 10.5.1 of Decree No. 131/014 (Annex I). MICRO, SMALL AND MEDIUM-SIZED ENTERPRISES (MSMEs) To apply for the benefit, the bidder must submit together with their bid the Certificate issued by Dinapyme that accredits their status as a MSME and their participation in the Contracting Subprogram for Development (Arts. 2 and 5, and related articles of Decree No. 371/010). The market reserve does not apply. |
| 11 | Offer Maintenance Guarantee The establishment of a Bid Maintenance Guarantee is not mandatory. In the event that the bidderFailure to maintain your offer will result in a fine equivalent to 5% of the maximum amount of your offer. The administrative act or resolution imposing the fine shall constitute an enforceable instrument, without prejudice to compensation for any damages that said non-compliance may have caused to the Administration, and the notification of the fact to the Single Registry of State Suppliers. (Art. 64 of the TOCAF.) The fine will be deducted from any outstanding invoices that the company has with OSE. Otherwise, the successful bidder must pay OSE the corresponding amount within the period communicated in the notification. If payment is not made, OSE reserves the right to take legal action to collect the debt. |
| 12.1 | Presentation The offer in its entirety will be presented as follows: - Original signed paper, numbered consecutively including the Quantity and Price List (Annex V). - 4 copies of the original offer in digital format (4 USB drives). The Quantity and Price Schedule (Annex V) must be included on the USB drive in Excel format. - If it contains CONFIDENTIAL INFORMATION, it must be presented according to one of the following options, without requiring the addition of copies: - original paper in separate sealed envelope - or as a separate digital file (USB drive) In its submission, the requirements established in Article 12.2 of these Terms and Conditions must be met. In case of non-compliance with any of them, whether due to: failure to submit a “non-confidential summary” under the conditions detailed therein, and/or erroneous classification of the information submitted as confidential, when it corresponds to that listed in the aforementioned Article under the subheading “Will not be considered confidential information”, the envelope classified as “Confidential” will be opened at the Opening Ceremony. The offer, once formed, will be submitted in a sealed envelope by the time set for opening at the OSE Bidding Office located at Av. San Martín 3235, Montevideo Department. Please note that the Online Bidding option is not currently available. Offers submitted outside the deadline and time set for the opening of the tender will not be accepted. |
| 12.2 | Confidentiality Confidential information must be submitted andin envelope or in digital file. In all cases it must be identified as “Confidential Information”. ANDThe bidder who submits confidential information must submit in the bid a “non-confidential summary” of said information, which is brief and concise (Decree No. 232/010 of August 2, 2010). The “non-confidential summary” must be sufficiently explanatory to allow the other bidders to know and control the evaluation that the bidding Administration may make in this regard. The bidder must perform the classification based on the following criteria: The following is considered confidential information: * lrelative to its clients; * lthat may be subject to intellectual property; * lthat refers to the offeror's assets; * lthat includes facts or acts of an economic, accounting, legal or administrative nature, relating to the offeror, that could be useful to a competitor; * lthat it is protected by a contractual confidentiality clause; * and that of a similar nature in accordance with what is established in the Special Specifications. Nor is considered confidential information: *the manufacturer's data and origin, unless there is a contractual confidentiality clause *its prices, *thedescriptions of goods and services offered, *thegeneral terms and conditions of the offer. In the event that the offers contain personal data whose owner is not the offeror, the latter, if applicable, must obtain the consent of the owners thereof, in accordance with the provisions of the Personal Data Protection and Habeas Data Action Law No. 18.331 of August 11, 2008, and related and complementary regulations. The classification of documentation as confidential is the sole responsibility of the bidder. The Administration will duly evaluate the measures to be taken should non-compliance with the requirements established by current regulations regarding said classification be found. |
| 12.3 | Opening It is added: The opening date will be announced in the official publications of the call for tenders and will be made public. Only those authorized to do so, according to the information on file in RUPE, may submit statements, clarifications, or reservations they deem pertinent and/or sign the Opening Minutes. For verification purposes, they must present a photocopy of their National Identity Card when submitting their bid to the Bidding Office. |
| 13.2 | Admissibility of offers It is added: For the purposes of this tender, valid offers are defined as those offers that conform to the required object in accordance with Article 10.2 of these Specifications, have complied with the formal requirements of submission and those stipulated in Articles 9.1 a), 9.1 b), 9.1 c) and 9.2, have completed the Forms included in the Annexes of these Specifications, have complied with all the technical requirements demanded in Annex VII (Technical Specifications) and have passed the verifications and qualification tests in accordance with the provisions of Chapters 10 and 11 of Annex VII (Technical Specifications). Providing the information required in the Shipping Form as mandatory data (Annex VI) is essential for the evaluation and admissibility of the offer. Failure to comply with the above requirements and with Article 10.3 – Quotation Methods – Offers for Goods to be Imported by OSE will result in the offer being deemed inadmissible. The verification will determine whether the offer PASSES or FAILSto the evaluation stage. |
| 13.3 | Assessment The procedure for comparing offers will be based on price factor across the set of valid offers. |
| 13.5 | Talks In the event of offers with a similar price, OSE may resort to the offer improvement and/or negotiation institute for the purposes established in Art. 66 of the TOCAF. |
| 14.1 | Dictation of the act It is added: The award will be made in full, in accordance with the provisions of Articles 10.2, 10.3 and 13.3. OSE may reject all proposals. |
| 14.2 | Awarding - Formal Requirements - To be awarded the contract, bidders must be definitively registered in the aforementioned Registry (RUPE), having acquired the status of “ACTIVE”. If at the time of the award, the winning supplier has not acquired the status of “ACTIVE” in RUPE, once the act has been issued, the Administration will grant a period of 5 (five) business days from the communication so that the same acquires said status, under penalty of awarding the call to the next best offeror in case of not complying with this requirement in the aforementioned period. - If the successful bidder has legal or commercial representation by a natural or legal person, the award will be considered as follows: In the case of a legal representative The award will be made in the name of the represented party, who must be registered in RUPE and comply with the requirements of section a) of this article. The represented party must issue invoices and will be the beneficiary of the payment; if payment is made by letter of credit, the representative will be the beneficiary of the letter of credit. In the case of a sales representative The contract will be awarded to the bidder who submits the offer and complies with the requirements outlined in section a) of this article. That bidder will be responsible for issuing invoices and will be the recipient of the payment. In the case of import, a transferable letter of credit may be opened, with the successful bidder always being the one who must invoice. - Annex VIII - Declaration on Gender Equality - Annex IX - Confidentiality Commitments Within the framework of Law 18.331 and regulatory decrees and in accordance with the provisions of RD 720/2014, the bidder must sign and submit Annex IX – Confidentiality Commitment prior to the execution of the service. - Annex X – Sworn Statement Art. 46 of the TOCAF - Annex XI- Sworn Statement of Occupational Safety and Health - Annex XII – Sworn Statement of NOT being registered as a Delinquent Child Support Debtor In accordance with the provisions of Laws Nos. 17,957 of April 4, 2026 and 18,244 of December 27, 2007 on Delinquent Child Support Debtors, bidders must declare at the time of submitting their bids that they are not registered in the National Registry of Personal Acts, Interdictions Section, instatus as a delinquent alimony debtor, according to the Affidavit contained in Annex XII. The aforementioned declaration must include the Owners, Directors and Administrators of the declaring company. Prior to the perfection of the contract (Art. 18 of the aforementioned Tender Document), the successful bidder must deliver the aforementioned documentation (c to g) within the deadlines established in the award notification, to the OSE Bidding Office |
| 18 | Improvementor of the contract It is added: The contract is considered finalized upon notification of the purchase order number. This notification will be made once the relevant guarantees have been established and the legal documentation required for contracting with the State has been submitted. |
| 19.1 | Guarantee of faithful performance of the contract - Constitution It is added: The Guarantee of faithful compliance with the contract will be mandatory for 5% (five percent) of the total amount awarded and will be presented or constituted in the Supplier Service Module of OSE, located on the Ground Floor of the Central Building, located at Carlos Roxlo Street 1275, Montevideo. The minimum amount to demand the aforementioned guarantee for the period January - December 2026 is $5,482,000 (five million four hundred eighty-two thousand Uruguayan pesos). If the guarantee of faithful performance of the contract is constituted by means of a surety or bank guarantee, said documents issued by the guaranteeing entity must be accompanied by a notarized certification of signatures. |
| 21 | Personal Fulfillment of Obligations It is added: Legal regulations and provisions corresponding to Law 18.251. The service provider's obligations include complying with current legal regulations related to the service provided (labor, tax, occupational safety, environmental, etc.) during the execution of the contract, and in particular, with the labor and salary provisions contained in Law 18.251 and Decree 137/016. The service provider must communicate to OSE the personal data of the workers involved in providing the contracted service, in order to facilitate control and any changes in the payroll of workers involved in providing the service. |
| 23 | Penalties It is added: Penalties for failure to meet quantity and/or deadline If the supplier fails to deliver all the awarded goods within the total and/or partial timeframe stipulated in Article 25 of these Terms and Conditions, OSE will deduct from the awarded amount an amount equivalent to 1% (one percent) of the price of the corresponding item that is overdue for each week or part of a week of delay, up to 40% (forty percent) of the amount of the overdue item. If, upon reaching this percentage, the supplier persists in non-compliance, this will be sufficient cause for the unilateral termination of the contract. This same criterion will be applied if the scheduled date for the provisional acceptance of the tender is not met. For goods imported by OSE, the FOB (sea freight) and FCA (land and air freight) terms are used to verify delivery compliance. For deliveries from a Free Trade Zone or a customs-free warehouse, the CIP term will apply. Penalties for non-compliance with technical specifications If the delivered supply does not meet the Technical Specifications required in this document, the supplier shall bear all costs of replacing it. Once this situation is configured, the penalties for non-compliance with quantity and/or deadline established above in this article will apply. Penalties for shortages or breakages of the supply at the time of delivery to the stipulated place for the market Upon receiving the merchandise at the designated delivery location, and if the claim against the international insurance is not applicable, the supplier must assume all costs of replacing this merchandise up to said destination.Once this breach is established, the penalties for breach of quantity and/or deadline established above in this article will apply. Penalties for non-compliance or defects in the documentation of goods to be importedby OSE The supplier will be responsible for paying the storage costs and delays in returning containers in the following situations: - Documents submitted outside the stipulated deadline. - Required documents with errors and omissions. - Supplier obligations not assumed in a timely manner; for example, the cancellation of local expenses. Failure to submit the documentation within the established timeframe, as well as errors and omissions, will entitle OSE to demand from the supplier the payment of all expenses incurred and damages caused until the moment OSE has in its possession and accepts the documentation in accordance with the requirements for managing the dispatch of the merchandise. The supplier will be responsible for any charges and damages that may be caused to OSE by non-compliance with the provisions of the Shipping Notice and the Issuance of documents established in Article 24 of this document. In all cases where there is a breach by the supplier, the supplier must assume the costs of modification that may be required in the letter of credit. Penalties for non-compliance in responding to support and maintenance If the maintenance service is not fulfilled in the terms provided (2.2.14 to 2.2.18) the monthly payment for the same may be withheld until the situation is regularized. For all cases: The decision to replace materials that do not meet the Technical Specifications, are missing and/or broken, is at the sole discretion of the Administration. The deadline for repairing or replacing the goods will be a maximum of 3 months (90 calendar days) from the corresponding communication, which may be extended only once, for a maximum period of 30 additional days at the discretion of the Administration. Specifically for goods to be imported by OSE, all import costs are the responsibility of the successful bidder. OSE will receive the replacement goods at the designated facilities at no cost to them. The fines will be deducted from any outstanding invoices related to this or any other contract the Company has with OSE. Otherwise, the contractor must pay OSE the corresponding amount within the timeframe specified in the notification. If payment is not made, OSE reserves the right to take legal action to collect the debt. Where applicable, fines will be applied to the adjusted basic values, according to the parametric formula established in Art. 10.3.2. If, due to causes attributable to the Awardee Company, the Administration cannot execute the contract, and if the deposit of the Guarantee of Faithful Compliance of Contract is not applicable, the fine equivalent to 10% of the total amount awarded without taxes will be applied, without prejudice to other actions that may be appropriate (Art. 64 of the TOCAF). The total or partial non-compliance of the service provider with the commitments made to OSE will be subject to the corresponding sanctions, as provided in the OSE Supplier Regulations, which may lead to the termination of the contract, which in turn will give rise to the loss of the Performance Guarantee. The sanctions will be communicated to RUPE. OSE may also demand, through the appropriate channels, the damages arising from the breach, and may even entrust the termination of the object of the contract to the defaulting supplier. |
| 24 | Import It is added: Shipping coordination: For supplies of goods to be imported by OSE, the supplier must take into account: - Shipping Notice At least 3 (three) business days before the scheduled shipping date, the supplier must notify the Foreign Trade Office (Supply Management), via email (comercio.exterior@ose.com.uy) the following information: - Purchase number. - Supply/ship. - Shipping value. - Expected departure date. - Type of packages - Net and gross weight of the packages In the case of land shipments, OSE will inform the supplier of the time from which the shipment can take place, disclaiming all responsibility for the costs that may arise from non-compliance with the stated terms. When the contract is awarded under CFR/CPT terms, OSE will arrange international insurance prior to shipment. The supplier may not ship until this process is completed.. - Issuance of documents The documentation must be issued in accordance with current regulations, reflecting the agreed purchase and payment conditions, and be ready for shipment. In addition to the shipping documents required for customs clearance, the presentation of the Certificate of Origin may be requested for each shipment. |
| 25 | Reception It is added: Delivery location Integrated smart meters For job offers,The supplier must deliver the 50,000 integrated smart drinking water meters to the Central Abayubá warehouse located at Dayman Street 3138, corner of Con. Abrevadero and Arrayán (Abayubá Town), Montevideo, Montevideo Department, on business days, from 8:00 a.m. to 2:30 p.m., after coordinating the day and time at least 72 hours in advance with the materials receiving offices: emailalmacénbayuba@ose.com.uy For offers of goods to be imported by OSE, please refer to INCOTERMS2020. The supplier must coordinate by email with the Foreign Trade section of the Supply Management at the following email address:comercio.exterior@ose.com.uy Delivery time and plan - The delivery period will be calculated from the day after notification of the purchase order (Art. 18 of this document). - Item 1 will be delivered in a single installment within 150 calendar days. - From the date of delivery of the smart meters,The successful bidder must configure and deliver them to OSE organized in ordered lots with consecutive numbering and properly packaged to avoid damage during transport, with a minimum rate of 5,000 smart meters every 15 days. - Once OSE has the meters available, it will install them on the corresponding connections at a rate of 5,000 meters per month. The installation will be coordinated between the Project Management and the winning bidder to ensure proper equipment and supply coordination. - Within 30 days of thenotification of the purchase order (Art. 18 of this document)The successful bidder must inform OSE of the computer and telecommunications requirements that it will demand from it, in accordance with the characteristics and conditions indicated in Chapter 4 – Characteristics of data reception and Software applications of Annex VII - Technical Specifications. - The installation of the software applications will be carried out immediately after the OSE Works Management indicates the availability of the required computer infrastructure. Shipping deadline for offers of goods to be imported by OSE The shipping period will be a maximum of 95 calendar days under FOB conditions (sea shipments) and 135 calendar days under FCA conditions (land and air shipments). For delivery to a free zone or warehouse with customs franchise, the term will be a maximum of 140 calendar days under CIP conditions. The delivery to the Free Zone or customs franchise warehouse will be considered complete when the supplier delivers the documents in order for dispatch to the OSE Foreign Trade Office. The delivery period will be calculated from the day after the purchase order is communicated (Art. 18 of this document) Transfer of costs and risks The place of delivery of the goods, the transfer of costs and risks will be governed by the INCOTERMS 2020 rules. Reception conditions: - The batch of 50,000 integrated 13mm smart meters offered will undergo factory acceptance, with the characteristics and conditions described in Articles 9.2.1 and 9.2.2 of Annex VII (Technical Specifications). Factory acceptance applies exclusively to their metrological evaluation. - Upon receipt at OSE, compliance with the provisions of the Technical Specifications (Annex VII) regarding delivery conditions will be verified.The consistency of the characteristics of the product offered with respect to the one provided will be verified, and they must coincide. - The provisional acceptance of the tender will be once the conditions described in Chapter 9 of Annex VII (Technical Specifications) have been met, including the validation of the Telemetry System (Art. 9.1 of Annex VII - Technical Specifications) for all connections. - For market offers of the goods offered, once the consistency of the characteristics of the product offered with respect to the one provided has been verified, as well as verifying that said lot agrees with the one received at the factory, the partial receipt of 50% of Item 1 is accepted. - The remotely measured connections will be received on-site during the provisional acceptance of the tender. Partial acceptances may be carried out based on the number of remotely measured connections once they comply with the provisions of Article 9.1 of Annex VII – Technical Specifications. which may be grouped by time or by batch. Extension of the completion date The Administration may extend the planned completion date when a change is ordered that makes it impossible to complete the work on the planned date without the Contractor taking measures to accelerate the pace of execution of the remaining work. If OSE orders variations or unforeseen events arise that make it impossible to comply with the deadlines established in the General Project Execution Plan, the Awardee may request an extension of the execution period. Requests for extensions must be submitted in writing within ten (10) business days of the occurrence of the causes that may warrant them. The Administration will determine whether and for how long the planned completion date should be extended. If the Awardee has not given timely notice of a delay or has not cooperated in resolving it, such delay will not be considered in determining the new completion date. Service provision period: - The term for providing Telemetry Support and Maintenance (described in Chapters 1, 2 and 6 of Annex VII-Technical Specifications) will be 60 months and will be counted from the date of provisional receipt of the tender, in accordance with the provisions of Article 25, section: “Reception Conditions”, of this Annex III. - In the event of partial receptions (Art. 25, section: “Reception Conditions”, item f) of this Annex III), the Telemetry Service will be provided in all the telemetry connections involved from each date of partial reception. - In any case, the provision of the Telemetry Service will end once the amount quoted in Item 3 of Annex V b) of the Quantities and Prices Schedules has been exhausted. Controls The controls that OSE will carry out will be in accordance with the provisions of the Technical Specifications (Annex VII). |
| 28 | Payments It is added: Payment for services and suppliesThe awards will be made by distinguishing the following cases: - Payment for goods offer (domestically manufactured)or imported goods), quoted in national currency (Uruguayan pesos) of Item 1 The payment term is 60 (sixty) days from the invoice date. - Payment for goods to be imported by OSE under item 1 Payment for the goods to be imported by OSE will be made in the quoted currency as follows: Against Letter of Credit as detailed: - Ninety percent (90%) of the amount according to the awarded INCOTERM will be paid against presentation of the documentation in order for dispatch. - Ten percent (10%) of the amount according to the awarded INCOTERM will be paid after receipt and acceptance of the goods at the delivery location stipulated for the market. The offer must include: the name of the beneficiary of the Letter of Credit, address, city, country, telephone number, and email address. For the opening of the Letter of Credit, the supplier will have 5 calendar days to communicate their agreement or suggest any modifications to the draft Letter of Credit that the Foreign Trade Office will send them via email. If the supplier has not responded within this period, the Foreign Trade Office will consider the established terms accepted by the beneficiary and will proceed to open the Letter of Credit. If, after this period, the beneficiary requests a modification to any of the established conditions, they will be responsible for all costs associated with such modification. The offeror should bear in mind that the only cost that OSE will assume with respect to the Letter of Credit will be that of its issuance, with all bank negotiation expenses as well as those generated outside the country being the responsibility of the beneficiary. If deemed appropriate by OSE, it may choose a payment method other than a letter of credit. Payment will be made in full within 60 (sixty) days of acceptance of the merchandise. - Payment for Services under Items 2 and 3 The payment term is 30 (thirty) days from the invoice date. - Payment for goods offered in the market (domestically manufactured or imported goods), quoted in foreign currency(US dollars or euros). The payment term is 60 (sixty) days from the invoice date. Payment delays If OSE makes a payment on an invoice beyond the established deadline, the supplier will be entitled to an additional adjustment by applying the corresponding late payment interest rate to the overdue amount, based on the payment method indicated in their offer. These applications may be submitted up to a maximum of 60 days from the date the invoice for the delivery of the corresponding materials is issued. Failure to meet this deadline will result in the expiration of the successful bidder's right. The aforementioned request must be submitted to the Office of the Measurement and Special Clients Management of the Measurement, Readings and New Services Management, by means of a note establishing the pertinent calculation, signed by a representative with sufficient powers, registered in RUPE. Billing Suppliers included in the Electronic Billing System For suppliers who have Electronic Billing, they must include the HS/RM (Service Sheet, duly authorized or Materials Receipt) data provided by OSE in the Purchase Order field when issuing the invoice, or they will have a period of 72 hours to enter the Suppliers-HS/RM CFE Entry application on the OSE website and associate the CFE number with the HS/RM. |

# ANNEX IV

# Offer Form

Tender No. _____

Montevideo, ___ of ______________ of ____

PROPONENT'S INFORMATION:

| RUT | COMPANY NAME | TRADE NAME |
| --- | --- | --- |
| LEGAL ADDRESS | TELEPHONE AND FAX | EMAIL |

Dear Sirs, Administration of the State Waterworks (OSE)

With my highest regards

The undersigned, Mr. __________________, ID No. ______________, representative of the indicated company, declares that he is in a position to contract with the State and that he submits to the Laws and Courts of the Country, to the exclusion of any other recourse, committing to carry out the supply and execute the services detailed in the bidding documents that govern Tender No. ______, for the unit and total prices quoted in currency ______.

TOTAL PRICE OF THE PLAZA OFFER: _____________ (Numbers) _______ (Letters)

This amount matches the “Total Offer Price” in the List of Quantities and Prices (Annex V a) of the tender documents.

TOTAL PRICE OF THE SERVICES OFFER: _____________ (Numbers) _______ (Letters)

This amount matches the “Total Offer Price” in the List of Quantities and Prices (Annex V b) of the documents

bidders.

TOTAL OFFER PRICE ITEM 5: _____________ (Numbers) _______ (Letters)

This amount matches the “Total Offer Price” in the List of Quantities and Prices (Annex V d) of the tender documents.

TOTAL PRICE OF THE OFFER RELATED SERVICES: ___________ (Numbers) _______ (Letters)

This amount matches the “Total Offer Price” in the Bill of Quantities and Prices (Annex V c).

OFFER VALIDITY PERIOD: As established in Art. 10.1 of Section II and/or Amendments if any.

DELIVERY TIME: As established in Art. 25 of Section II and/or Amendments if any.

METHOD OF PAYMENT:As established in Article 28 of Section II and/or Amendments if any.

____________________ ________________________

Signature(s) Clarification of Signature(s)

ANNEX V

# Quantity and Price Sheets (a)

Offers of local goods (domestic manufacture or imported goods) (a1)

Offer of goods to be importedby OSE(a2)

# Support and Maintenance Service (b)

# Related Services (c)

ANNEX VI

# Shipping details form (REQUIRED)

# ANNEX VI

# Forms Art. 9.1 a) I) 1. Section II

# Bidder's experience

The bidder must provide all the information requested in the table below:

| Contract No. | Contract Identification | Date of completion | Amount | Currency |
| --- | --- | --- | --- | --- |
| 1 | Contract Name and Identification: Contracting Party Name: Description of the supply provided by the supplier: Address/phone and email of the Contractor: |  |  |  |
| 2 | Contract Name and Identification: Contracting Party Name: Description of the supply provided by the supplier: Address/phone and email of the Contractor: |  |  |  |
| n | Contract Name and Identification: Contracting Party Name: Description of the supply provided by the supplier: Address/phone and email of the Contractor: |  |  |  |

# ANNEX VI

# Forms Art. 9.1 c) I) 3. Section II

# Manufacturer's experience

The bidder must provide all the information requested in the table below:

| Contract No. | Contract Identification | Date of completion | Sales (expressed in quantity) |
| --- | --- | --- | --- |
| 1 | Contract Name and Identification: Contracting Party Name: Description of the supply provided by the supplier: Address/phone and email of the Contractor: |  |  |
| 2 | Contract Name and Identification: Contracting Party Name: Description of the supply provided by the supplier: Address/phone and email of the Contractor: |  |  |
| n | Contract Name and Identification: Contracting Party Name: Description of the supply provided by the supplier: Address/phone and email of the Contractor: |  |  |

Note:

Specifically identify in the form the contracts with volumes and marketing similar to the offered good(Art. 9.1 c) I 3.

# ANNEX VII

# Technical specifications

  - GENERAL INFORMATION

  - The Telemetry System for which this acquisition is intended will consist of integrated smart drinking water meters (drinking water meter and telemetry device integrated into the same body), the telemetry devices that will be in charge of remote measurement and telecommunication of information, data communication, and the computer support for managing the telemetry devices..

  - The remote metering devices installed on each drinking water meter will transmit the information wirelessly via a private mobile network to the data delivery point. The private mobile network will be provided by Antel.

  - The supplier will install all necessary hardware and/or software components required to achieve optimal performance of the proposed Telemetry System. All associated costs must be included in the offer, except for the connectivity of the telemetry devices, which will be provided by OSE-Antel.

  - The supplier will install all the necessary software applications to manage and control the operation of the implemented Telemetry System, including aspects related to the telecommunication of information and aspects related to data management.

  - The supplier is exempt from installing the meter at the connections; this will be carried out by technical personnel from, or contracted by, OSE. All activities to be performed by the successful bidder will be done remotely, from Montevideo, without the need to visit the installation site of each meter.

  - The supplies offered must be original factory models with all their original components, without adaptations with elements from another source.

  - The models offered must be current and in production at the time of the offer submission. Models or components discontinued or scheduled to be discontinued by the manufacturer within the next 12 months will not be acceptable, nor should there be any announcement of upcoming discontinuation for marketing or support.

  - From communication technologies

    - Data transmission from smart meters will be using cellular mobile communication and only Narrowband IoT and/or LTE-M (Cat. M1) technologies, provided by Antel, will be supported.

    - For cellular mobile communications, private mobile networks must be used.

    - Data delivery to OSE will be carried out through a mobile VPN to the Data Collection System, using protocols that will be defined in this document.

    - The use of public internet will not be permitted under any circumstances.

## 2.	CHARACTERISTICS OF THE TELEMETRY SERVICE

  - The Telemetry Service will be responsible for the collection, transport and delivery of the information generated in the telemetry devices implemented in each meter.

  - The process of collecting, transporting, and delivering the telemetry information will be carried out using current data telecommunication technologies.

  - Support and maintenance of all components of the Telemetry Service will be included within it.

  - The Telemetry Service includes the maintenance and support of each and every component of the integrated smart meter provided by the contractor, keeping them in full operation and addressing any claims made in this regard by OSE, within the framework of the requested guarantees.

  - Included within the service are the maintenance and support of all applications, configurations and interfaces necessary for the telemetry information to be delivered to the Data Collection System.

  - In case of failure of the telemetry device, the integrated smart meter must be replaced with a new and unused one, at no cost to OSE, coordinating the meter replacement tasks with the Agency.

  - In case of battery failure or if the battery has run out of power (about to run out or is depleted), the integrated smart meter must be replaced with a new and unused one, at no cost to OSE, coordinating the meter replacement tasks with the Agency.

  - If a measurement error outside the range allowed by OSE is found in a smart meter, through on-site or laboratory testing, the meter must be replaced with a new and unused one, at no cost to OSE, coordinating the meter replacement tasks with the Agency.

  - The contract will also cover all other tasks related to the telemetry device, such as correcting discrepancies between physical and telemetry readings, updating firmware, reconfigurations, etc.

  - In the event of repeated discrepancies between the physical reading and the remote measurement, the successful bidder must replace the integrated smart meter with a new and unused one.

  - The Contract will include the configurations required in the Telemetry System for additions and removals of drinking water service.

  - All costs associated with the infrastructure of the contracted Telemetry support and maintenance service will be included in the quoted service price, except for connectivity to the Data Collection System.

  - The Telemetry Service will use secure communication protocols to transport the data to the Data Collection System.

  - The monthly availability level of remote meter readings will be at least 95.00% of all remotely metered connections. This calculation will consider the number of readings received daily in the OSE system within 48 hours of the daily reading date, taking into account all remotely metered connections.

  - It must be ensured that if the transmission cannot be carried out for any reason, the hourly consumption data must not be lost, by sending it in the next transmission.

  - The maximum time allowed for the lack of daily transmission of hourly consumption reading data for each Supply will be 48 hours, at which point OSE will generate a claim for lack of service.

  - The response time (and resolution time) for corrective actions in response to an OSE claim will be less than 72 hours.

  - Given the scale, complexity and duration of the contract, in addition to the designation of a responsible person and a support email as a governance model; the successful bidder must integrate into a formal contractual monitoring scheme (monthly meeting), with periodic control instances, standardized reports (reports on progress, incidents, corrective actions, maintenance and risks), escalation and performance monitoring.The successful bidder must propose a governance model that addresses all these aspects.

  - Should the smart meter cease transmitting during the contract period due to battery status, it must be replaced with a new one under warranty at no cost to OSE. Battery replacement will be permitted provided the operating conditions and characteristics established in this document for the smart metering device are guaranteed. All costs are included in the quoted service price.

## TECHNICAL CHARACTERISTICS OF THE TELEMETRY DEVICE

  - General characteristics

    - The telemetry devices that will be in charge of remote measurement and telecommunication of information will generate inductive pulses (according to the technology available in the meter), process them (readings, alarms, etc.), store them for the required time until a confirmed transmission and transmit them wirelessly through the technology offered.

    - The telemetry devices implemented in each drinking water meter will transmit the information wirelessly.

    - The data will be transmitted through Antel's cellular network and will be using Narrowband IoT or LTE-M Cat. M1 technology.

    - Cellular transmission devices will be able to use MFF2 format SIM or eSIM cards.

    - The radio frequency transmission devices must be approved by URSEC, which will be accredited by the successful bidder on the date of the final award.

    - The telemetry devices implemented in the drinking water meters must be battery powered.

    - The battery capacity of the telemetry devices must provide said equipment with a minimum autonomy of 10 years under the required operating conditions of the System, which will be accredited in the offer.

    - The battery capacity required for the telemetry device must allow for at least one daily transmission, taking a consumption reading sample every hour.

    - It must be ensured that if the transmission cannot be carried out for any reason, the hourly consumption data must not be lost, by sending it in the next transmission.

    - The maximum acceptable period for failure to transmit the daily telemetry data at the established rate will be 48 hours. Should this objective not be met, all necessary measures must be taken to ensure this daily transmission.

    - The storage capacity of the telemetry devices must be such that it stores all the requested information for at least 48 hours.

    - The telemetry device must have an internal clock synchronized with an NTP Server provided by the contractor, accessible from the telemetry devices.

    - Private IP addressing is used, to be defined in the project stage.

    - Telemetry devices must record at least the following information:

      - Identification of the drinking water meter

      - Reading indicated by the drinking water meter every day at every exact hour.

      - Date and time of each hourly reading

      - Event type.

      - Date and time of all events (alarms, reverse flow, etc.)

    - Secure communication protocols will be used for data transfer.

    - The inductive pulse generation system must not alter the metrological performance of the meter.

    - The pulse generation system must record a maximum of one liter of consumption per pulse, meaning that each pulse should correspond to a maximum of one liter.

    - The hourly reading data that the telemetry device will transmit must have an accuracy of 0.001m³ or greater.

    - The telemetry devices will be suitable for working in an environment with a temperature range of between -10 and +55 degrees Celsius.

    - Transmission identification and securityA connection will be established with each telemetry device using a secure access identification method (e.g., identification number and access security key). Data transmitted from the telemetry device will be encrypted with at least AES128 (Advanced Encryption Standard) encryption throughout its path until delivery.

  - Features of the integrated smart meter body

    - The remote measurement device will be housed within a single unit containing all the necessary elements to fulfill its purpose, this unit being the same as the drinking water meter.

    - The remote metering device must be compatible with the drinking water meter being offered.

    - The following are the maximum permitted dimensions for the integrated smart meter.

The measurements are taken by placing the integrated smart meter horizontally with the display at the top.

      - Height from bottom to top: 150 mm

      - Height from the tube axis to the upper end: 140 mm

      - Width from end to end: 140 mm

      - Width from the tube axis to the furthest end: 80 mm

    - It must have an IP68 protection rating and be suitable for working in environments with a temperature range of between -10 and +55 degrees Celsius.

    - The exposed materials must be resistant to UV (ultraviolet) radiation.

  - Alarms

    - At a minimum, the telemetry device must generate alarms for: reverse flow, peak flow, low battery.

    - The alarm must correspond to the situation at the time of transmission. The system must report daily on the alarms generated that day.

    - All alarm values ​​must be configurable.

    - Brief definition of each alarm:

      - Reverse flow: corresponds to the situation where the passage of water in the opposite direction to that for which the meter was designed is detected and recorded.

      - Peak flow rate: corresponds to the situation where, in the instance of measuring the instantaneous flow rate of the water circulating through the meter, it is detected that said flow rate exceeds the maximum pre-established value.

      - Low battery: This refers to the battery's state of charge when it falls below the threshold set by the manufacturer.

## 4	CHARACTERISTICS OF DATA RECEPTION AND SOFTWARE APPLICATIONS

4.1The successful bidder must provide, install and configure a Software for the transmission-reception of the data measured remotely by the smart meters supplied and for the control of the devices.

4.2The software application(s) for managing the transmission-reception and configuration of data and control of the devices, as well as the corresponding interface, must begin their implementation from the date of notification to the awardee of their final award.

4.3E	The supplier must provide a document outlining the alarm distribution plan to enable parameterization within the OSE software.

4.4	The telemetry devices that will be in charge of remote measurement and telecommunication of information will generate inductive pulses (according to the technology available in the meter), process them (readings, alarms, etc.), store them for the required time until a confirmed transmission and transmit them wirelessly through the technology offered.

4.5The proposed architecture consists of the following modules:

- Telemetry device.

- Management System.

- Data Collection System.

The items indicated in points 1 and 2 are part of the solution provided by the contractor.

Item 3 is provided by OSE and is not part of the solution provided by the contractor. The device must send the telemetry data to the Data Collection System using the specifications described in the following points.

The remote metering devices installed in each drinking water meter will transmit information wirelessly, using Antel's mobile network via Cat-M or nb-iot access. No other connectivity technology will be supported.

The system must support connection via a Virtual Private Network, implemented on the mobile access point and endpoint equipment. Dynamic private IPs (IPv4 or IPv6) will be used.

The costs associated with connectivity for the delivery of remotely metered data should not be included in the commercial offer. These costs will be resolved through an agreement between OSE and Antel.

The smart meters will connect to the Data Collection System, where they will deliver the remote metering data, and to the Data Management System, provided by the winning bidder, via Cat-M or nb-iot connection. Internet connections will not be accepted.

The telemetry device must be compatible with the corresponding technology(ies) offered by Antel and must be able to transmit in at least one of the frequency bands that Antel has available for the corresponding technology.

Cellular transmission modules can use industrial SIM cards or eSIMs (MFF2 format). If industrial SIMs are used, they will be delivered in Uruguay. If eSIMs (MFF2 format) are used, delivery from the factory will be coordinated with Antel.

Direct internet connection will not be permitted under any circumstances within the entire remote metering system.

The telemetry devices must include a Management System, which will use the same Cat-M or nb-iot access network to manage the telemetry equipment. This system must be capable of at least configuring the telemetry equipment, performing firmware upgrades, receiving alarms, etc.

The user must be able to at least configure the telemetry equipment, perform firmware upgrades, receive alarms, etc.

For the Management System, the supplier will install all necessary hardware and/or software components required to achieve the optimal operating level of the proposed Telemetry System. All associated costs will be included in the offer.

Attached to the Management System, a control panel must be provided where at least the current activity status of the telemetry devices can be seen.

The data will be sent to the Data Collection System. The connection details will be provided after the contract is awarded. This system will be connected to the mobile VPN of the telemetry equipment.

Communication between the telemetry device and the Data Collection System will be encrypted, in order to protect the system against tampering with the device or concentrator.

The encryption mechanism will be the responsibility of the successful bidder, and the documentation and keys that allow the information sent by the Data Collection System to be decrypted must be provided.

Data transmission will be carried out using one of the following communication protocols: MQTT (v3 or v5) or HTTPS. The communication must contain at least the following data:

a - Identification of the drinking water meter

b - Reading indicated by the drinking water meter every day at every exact hour

c - Date and time of each hourly reading

d - Event type

e - Date and time of all events (alarms, reverse flow, peak flow, low battery,

etc.)

Likewise, the information may be extended to other parameters supported by the telemetry equipment.

Telemetry readings will be taken every hour and reported to the Data Collection System twice a day, 12 hours apart. The system must distribute the meter connections throughout the day to prevent all meters from transmitting data at the same time.

It must be ensured that if the transmission cannot be completed for any reason, the hourly consumption data is not lost and is transmitted in the next transmission. The meter must be capable of storing four days' worth of data.

The telemetry device must have an internal clock synchronized with an NTP Server, which will be part of the Management System.

The Management System will report that a meter could not be connected after 24/48 hours from its last connection.

The support and maintenance of all components of the Telemetry Service provided by the successful bidder will be included within the proposal.

4.6 Cybersecurity

The solution must include, at a minimum: communications security; authentication and access control; secure device configuration; secure firmware updates; vulnerability management; and event logging. The bidder will describe in their proposal how they implement these mechanisms and how the solution securely integrates with OSE's technological architecture.

4.7 Data Governance

All data generated by the micrometers and the associated solution will be the property of OSE. The solution must allow the reading, extraction, transmission, and integration of all data without undue restrictions, using interoperable standards consistent with OSE's institutional architecture.

4.8 Portability / Anti-access blocking

The solution must allow for the extraction and export of information in open or widely adopted formats, with documented integration mechanisms. No technical or legal restrictions will be permitted that prevent OSE from accessing, reusing, migrating, or integrating the information with other platforms within the institutional ecosystem.

## CHARACTERISTICS OF THE TELEMETRY EQUIPMENT INSTALLATION

  - The successful bidder must submit a detailed Telemetry System Implementation Plan, including a breakdown of tasks, execution times and milestones, with the organization, sequence and schedule of execution of all activities.

  - OSE will provide the successful bidder with a list of all connections that require remote metering.

  - The following describes some of the tasks that are understood to be included in the installation of the telemetry equipment, which must be integrated into the Implementation Plan of the requested project:

  - The supplier will be responsible for configuring and calibrating the measuring and transmission device.

  - The drinking water meters to be used for remote metering will be installed by OSE personnel at the connections that make up the service.

  - If the technology requires that the meters be installed in a specific order, the supplier will provide OSE with the necessary information so that OSE personnel can install them in the corresponding connections.

  - Configure the necessary parameters on all the equipment in the Telemetry System and leave them transmitting the information.

  - Perform any other task that the supplier deems necessary for the conditioning, installation and commissioning of the Telemetry System.

## 6	MAINTENANCE CHARACTERISTICS

  - From the date of provisional receipt of the tenderThis refers to the System and the Telemetry Service implemented in all the drinking water connections involved (including the telemetry device and the Telemetry Service), the successful bidder will be responsible for its support and maintenance for a period of 60 months, guaranteeing its optimal operation.

  - In the event of partial receptions per connection, the maintenance of the Telemetry Service of the validated connections will begin on that date, without prejudice to the 60-month period mentioned in the previous paragraph.

  - The bidder must have a local representative who can perform maintenance on the equipment and installed software, and the bid must indicate who will provide support and maintenance to each and every component of the Telemetry System.

  - Maintenance will include all supplies and support necessary to keep the equipment running, which will be supplied and installed by the contractor.

  - Reactive maintenance on the equipment must be performed within 48 hours of the incident being reported, leaving the equipment transmitting correctly.

  - Actions for reactive and/or preventive maintenance as a result of manufacturing defects in components, installation execution or configuration errors will be at the expense of the successful bidder.

  - For corrective actions in software applications and interfaces, the response and resolution time must be less than 72 hours.

## CHARACTERISTICS OF DRINKING WATER METERS

7.1	General Characteristics

    - All meters to be suppliedThey must be 13mm (½”) in diameter and have a plastic casing.

    - All meters to be supplied must be volumetric or ultrasonic.,with dynamic rangeR equal to or greater than 400 (R=Q3/Q1), cold waterIn any case, the telemetry device will be integrated into the meter in the same body (integrated smart meter).

    - All meters to be supplied will have apermanent flowQ3=2500 lt/hr and a distance between threads of 130 mm, with a 3/4” thread, according to ISO 4064/I.

    - The integrated smart meter will have a maximum height of 150 mm.

7.2	Terminology and definitions

    - Ultrasonic meter

The ultrasonic meter is an instrument that calculates the flow rate of circulating water by the difference in the response speed of an ultrasonic wave.

    - Maximum or overload flow (Q4)

This is the highest flow rate at which the meter must be able to operate without damage, for limited periods of time and under uniform conditions, respecting the maximum permissible errors. It is measured in m³/h.

    - Nominal or permanent flow rate (Q3)

This is the flow rate at which the meter can operate continuously without affecting its function. It is expressed in m³/h.

    - Transition flow rate (Q2)

This is the flow rate that defines the separation between the upper and lower measurement zones, where the maximum permissible errors experience a discontinuity, with the water flow being measured in a uniform regime. It is measured in m³/h.

    - Minimum flow rate (Q1)

This is the flow rate, from which all meters must respect the maximum permissible errors. It is expressed in m³/h.

    - Pressure drop

It is the loss of pressure due to the presence of the water meter in the conduit, whose unit of measurement is mca (meters of water column).

    - Mistake
It is the ratio between the difference in the volume indicated by the meter and the volume of the liquid actually drained through the meter (reference), and the reference volume.

7.3	Metrological and operational characteristics

    - Maximum Permissible Errors

- The maximum permissible error in the lower zone, between Q1 inclusive and Q2 exclusive, is +/- 5% (five percent in absolute value).

- The maximum permissible error in the upper zone, between Q2 inclusive and Q4 inclusive, is +/- 2% (two percent in absolute value).

    - Definition of Flow Rates.

The meters must comply with the maximum values ​​for the minimum (Q1) and transition (Q2) flow rates, and with the minimum values ​​for the nominal (Q3) and maximum (Q4) flow rates, which correspond to values ​​of an R=400 according to the ISO 4064/I standard for cold water meters, according to the following:

    - The meters must begin recording at flow rates less than or equal to 2.5 lt/hr, with aerror equal to or greater than-90%. (Qo)

    - Water temperature during continuous operation: minimum between 0.1 °C and +55 °C. Accidental or transient temperature: up to 60 °C or more, if certified by official technical documentation from the manufacturer..

    - The working pressure must be at least 10 bar. In addition, the meters must withstand, without deformation or damage to any of their parts, and without showing any leaks or moisture, a minimum internal pressure of 16 bar, applied for a time of no less than 15 minutes, and a pressure of 20 bar applied for a minimum time of one minute.

    - The maximum pressure drop for normal operating conditions should not exceed0.40 bar at permanent flow rate Q3, in accordance with OIML R 49 / ISO 4064, accredited by official technical documentation of the manufacturer.

  - Technological Features

    - Construction - General provisions

7.4.1.1 The meters shall be constructed so that:

- Ensure a long-term service with a guarantee against fraud.

- Meet the requirements of this document under normal conditions of use.

      - When meters may be subjected to accidental backflow of water, they must be able to withstand it without deterioration, without alteration of their metrological qualities, but with the recording of a discount indication.

    - Characteristics of the materials

The characteristics of the materials used in the components of the meter must comply with the following conditions.

  - To have adequate resistance for the use for which they are intended.

  - They are not disturbed by variations in water temperature within the working range.

  - They must not cause any degradation in the potability of the water or in relation to fiberglass or the propensity of pathogen development in the plastic casings. A current sanitary conformity certificate demonstrating this condition must be attached (WRAS, NFS, Eurofins, ACS, etc.).

  - To be resistant to internal and external corrosion or to be protected from it by the application of a suitable treatment.

  - The external parts must withstand exposure to sunlight (ultraviolet light).

    - Features of the casing

      - The plastic casings of the meters must be constructed of highly resistant synthetic material, capable of withstanding the characteristic service pressure variations, temperature variations and direct sunlight without affecting their watertightness, appearance, as well as the metrological quality of the meter.

      - The plastic housing must also comply with the dimensions of the meter and threads according to ISO 4064/I. The parts must have a regular surface and must withstand a continuous temperature of up to 55°C.

      - The threads at the connection points of the meters will be ¾”, and must comply with the requirements of ISO 4064 in its latest version.

      - For ultrasonic flow meters that indicate the direction of flow on their display, they must have at least one arrow indicating the direction of water circulation on the casing.

      - The maximum or nominal flow rate and the nominal diameter may also be indicated on the casing.

      - For 13mm gauges, the housing length will be 130mm, with the tolerances allowed by ISO 4064/I.

      - Offers for meters with casings shorter than the length specified above will be accepted, provided the supply includes a plastic coupling to achieve the total length requested. This coupling must be supplied and quoted as part of the offered meter. Tests and trials will be performed on the coupling-meter assembly, considering it as a single unit for these purposes.

      - The height of the integrated smart meter, understood as the transverse distance to the axis from the center of the water inlet hole to the meter to the highest point elevated meter, may not exceed140 mm.

      - It must have an IP68 protection rating and be suitable for working in environments with a temperature range of between -10 and +55 degrees Celsius.

    - Filter characteristics

The meter must be provided with a filter, located at the meter inlet, constructed of a corrosion-resistant material.

    - Indicator device

      - The indicating device must allow, by simple juxtaposition of the indications of the different elements that constitute it, a safe, easy and unambiguous reading of the volume of water measured, expressed in cubic meters, and without manual return to zero.

      - The volume will be given by the reading of consecutive aligned figures shown on a digital display, where the value will be in m³ and the whole numbers and submultiples must be included.

      - If the whole numbers are not aligned with the submultiples, other forms of presentation will be accepted provided there is no ambiguity in distinguishing between the primary indication and the alternative visualizations, for example, submultiples for verification and testing.

      - The meters must have a reading device design that allows the m³ to be read clearly and with the widest possible viewing angle, in such a way as to favor the correct placement of the meter and a good reading of it.

      - The actual or apparent height of the aligned figures shall not be less than 4.0 mm.

      - For ultrasonic flow meters, the smallest precision graduation of the meter must be less than or equal to 0.001 m³ and the largest indicating capacity must be equal to or greater than 99,999 m³. For the latter type of meter, it must have the option to display a higher reading precision (0.00001 m³) for the purpose of conducting laboratory and on-site tests.

      - The orientation of the indicating device must be such that:

- The digital reading should be perpendicular to the direction of the flow.

- The digital reading must allow a direct (not inverted) reading for a person located upstream of the meter.

    - Marking and labeling of the meter

In addition to the flow indication already stated, the following indications must appear on the meter, either on the casing, on the indicator device plate (dial), or on the ring ofclose or on the display:

- The meter serial number, up to 9 digits, according to the numbering system determined by OSE (3 letters and 6 numbers), must be visible from the same angle as the reading. Its placement on the dial is preferred. The chosen number type must be clear, easily legible, unambiguous, and indelible. It must be alphanumeric.

- Year of manufacture.

- Nominal flow rate or meter designation.

- Range (R) of the meter.

- Manufacturer's name or logo.

- Symbol for the unit “m3”.

- The OSE acronym or logo must be displayed in a visible location on the meter. For example: on the dial, on the casing, or as part of the meter number.

- The manufacturer must request, before starting the manufacture of the meters, the numbering that OSE has defined for the awarded meters.

- The design of the marking and labeling must be validated by OSE prior to the manufacture of the meters.

- The labeling and marking validation process will involve the manufacturer sending OSE a sketch or a meter with the final design, which must be accepted and will serve as proof of compliance with the requirements at the meter reception stage.

    - Viewfinder

      - The meter's display must be constructed of a material resistant to the action of sunlight, as must the dial of the indicating device and its indications.

      - The meter must not fog up under any weather conditions. It is expressly stated that this requirement will be strictly enforced, and the terms of the warranty may apply if fogging is found in service.

      - The visor may be presented in transparent and shock-resistant plastic material, or in glass or crystal with similar characteristics.

    - Seals

The meters must have, from the factory, a device that ensures their inviolability (seal), in such a way as to guarantee that the meter cannot be disassembled without obviously damaging said sealing elements.

    - Finish

      - TheThe plastic casing will be accepted in the color of plastic proposed by the manufacturer, provided that it is ensured that the plastic material component of the meter is not affected by atmospheric agents (sunlight, temperature variations, etc.).

  - Special provisions

    - Manufacturing Standards

- In all matters not contrary to the provisions of this document, the International Standard ISO 4064 / I, II and III shall apply.

    - Packaging

      - The meters must be supplied conveniently packaged in boxes, with a maximum of 20 kg per box, which externally must indicate the brand of the meter, the numbering range of the meters, which must be sequential within each box, and the quantity contained.

      - The boxes must be self-supporting, allowing up to 5 boxes to be stacked on top of each other without breakage.

      - The meters will be conditioned in such a way as to prevent collisions between them during handling of the boxes, thus ensuring that no damage occurs to them.

      - These boxes will be packed on pallets that comply with international standards (1.20 m long x 1.00 m wide x 0.15 m high). The pallet bases must have "free entry" features to allow passage for the pallet forks. The pallet and material assembly must be wrapped with heat-shrink or stretch film. The maximum height of this assembly will be 1.20 m. The weight of the assembly may not exceed 1,000 kg. The labels placed inside and affixed to the outside of the pallets containing the boxes of meters must clearly state, at a minimum: brand, model, type (according to the description provided by OSE), serial number range of the meters, and the quantity of meters on the pallet, all with their corresponding barcodes. It must be ensured that within each pallet the numbering of the meters is consecutive, and all pallets must be numbered sequentially following the order of the serial numbers of the meters.

    - Certificates

      - The model approval certificate must be submitted, which must comply with the international standards specified in this document.

      - A current certificate from the manufacturer of the water meters must be submitted, verifying compliance with ISO 9001:2008 or 2015 for the scope of design and manufacturing of water meters. This certificate must specify the validity period and the name of the verifying company, which must be internationally recognized.

  - Related services

The related services consist of activities for receiving the goods at origin and include:

7.6.1	Inspection by the Verifying Agent.

The manufacturing control of the meters and the verification of their factory acceptance tests will be certified by a verification agent with a recognized international track record. To this end, the bidder must submit a list of at least three (3) quality certification companies qualified to perform these services. A brief curriculum vitae of each company must be attached. The Administration will select, at its sole discretion, the company that will carry out these controls, considering the most expensive price from the three certification companies for comparison. Once the supply contract is awarded, the price quoted by the selected certification company will be paid. The costs corresponding to the manufacturing and acceptance control of the different batches of meters, as performed by the verification agent, will be quoted in the "Prices for Related Services" table in Annex V.

7.6.2	Services to facilitate inspection by OSE

The Administration will determine in due course whether it is feasible for an Administration technician to oversee the receiving process for the various batches of meters at the factory. If this is possible, basic support will be requested to facilitate the technician's work, including: transportation between the hotel and the factory, a Spanish-language translator (for the language of the country of manufacture), and any other assistance deemed necessary for the technician to perform their duties during their stay.The costs related to travel, the technician's accommodation, and any other expenses deemed applicable will be quoted in thein the "Prices for Related Services" section of Annex V. If it is not possible to send a technician, the work will be monitored remotely, in this case at no cost to the Administration.

## SAMPLES

The bidder must submit a sample, which may be delivered up to 5 business days after the date set for the opening of the next tender, inThe Quality Control Office of OSE - San Martín 3235 (Montevideo), from 8:00 a.m. to 3:00 p.m., the following quantity of items, which will be the same as those that will be installed later:

- 8 (eight) 13mm (1/2 inch) integral smart meters: minimum 9 (nine) samples

- At least two (2) of the smart meters delivered as samples must be delivered equipped and configured, ready to perform the qualification tests of the telemetry devices described in Chapter 11 of this Annex VII – Technical Specifications

  - OSE will issue the corresponding receipt “Sample Receipt”, numbered, dated and with time of receipt, duly signed and with signature clarification by the official who received the samples and the representative of the company that delivered them.

  - Bidders will have a maximum period of 30 calendar days from the notification of award to collect the samples of the bids that were not awarded.

  - Once the aforementioned deadlines have expired, the abandonment of the same will be considered configured, without any right to claim, the Administration declaring that they will not be used under any circumstances in the facilities of the Agency.

  - The samples submitted by the winning bidder in this tender will not be returned. These samples will serve as proof that the materials used in the installations are the same as those declared in the bid.

  - The samples submitted will be subjected to the qualification tests indicated in Art. 10 of this Annex VII – Technical Specifications, which must be passed in order for the meters to be considered suitable.

  - If feasibleall samples supplied per batch,They must be accompanied by an accuracy curve. If awarded the contract, at least two of these samples may be used as verification gauges for the test benches where the factory acceptance tests will be carried out.

  - The samples to be submitted for qualification tests may not have the acronym OSE, but it must be indicated in the offer that they will comply with these requirements and in what way.

  - Of the samples submitted for qualification testing, at least one must bear the serial number required in the specifications. In this case, the meter number will be “AAA123456”. The remaining samples may not bear serial numbers, but the offer must indicate that they comply with these requirements and how (diagram or similar).

## CONDITIONS FOR RECEIPT OF THE TENDER

9.1 Validation of the operation of the System and the Telemetry Service

To validate the operation of the System and the Telemetry Service subject to this Tender and the provisional acceptance of the equipment and software, the proper functioning of the System as a whole, as defined, will be considered, as well as that of each component element of the System.

Validation will be performed individually per telemetered connection; however, it will be evaluated by group of telemetered connections each month.

The following evaluation parameters will be considered:

- Continuity in the operation and stability of the System and the Telemetry Service

The continuity of the daily transmission of all telemetry data from all smart meters must be confirmed for at least 15 (fifteen) consecutive days without interruption, observed from the Data Collection System and that complies with the technical conditions and parameters established in the CAT-M or nb-iot network of Antel.

- Quality of information received

All information received from telemetry devices must be truthful, 100% reliable, and correctly received and managed by the Data Collection System.

- Concordance of readings

The telemetry transmission device will be considered to be correctly installed and in good working order when 2 (two) matching readings are verified between the visual measurement value and the telemetry reading value.

9.2 Inspections and tests of meters

    - Factory receipt of the batch of 50,000 meters

9.2.1.1 The receipt of the meters at the factory will include the actual manufacturing process and the acceptance tests. This will be carried out by a verification agent with a recognized international track record, whose responsibility will be to organize, control, and approve the tests established in this specification and in the indicated standard, for the approval of the batch of meters. The costs corresponding to the factory receipt will be borne by the verification agent.	They will be quoted in the corresponding sub-item in the "Related Services" form of Annex V e).

9.2.1.2 The bidder must submit a list of at least three (3) quality certification companies that can carry out the factory acceptance of the offered batch of 13mm meters. A brief resume of these companies, verifying this, must be attached.

      - OSE will have the power, at its sole discretion, to choose the company that will carry out said work and will notify the supplier of the lot accordingly.

      - For the aforementioned reception, the factory will provide free of charge all the necessary material, locational and human resources for carrying out the tests.

      - It should be noted that the factory must have available the test benches and annex facilities, as well as the personnel involved in order to carry out the tests within a maximum time of 10 (ten) days for the awarded batch of meters, with the daily workload being a maximum of 10 (ten) hours.

      - The test results will be recorded in the reports of the selected Verifying Agent, which will include the corresponding control sheets and any relevant observations, as well as proof of batch approval. Three (3) copies will be provided: one (1) for the buyer (OSE), one (1) for the supplier, and one (1) for the certifying entity. All copies must be signed by the responsible parties.

      - The bidder must include in their offer a visit from an OSE technician to inspect the reception work for the batch of meters. Basic support will be requested for the technician to carry out their task, namely: all necessary transportation, including round-trip travel to the country of origin, accommodation, meals, the participation of a translator (Spanish-language of the country of manufacture), and any other assistance deemed necessary for the technician to perform their work during their stay. All costs associated with the OSE technician's visit, (travel and accommodation costs for this technicianand all other expenses related to your visit), will be quoted in the corresponding sub-item of Annex V e) – Related Services.

      - For the purpose of coordinating the OSE technician's visit, the supplier must notify OSE at least 45 (forty-five) days in advance of the date on which the acceptance tests are expected to begin. Once the date has been notified, any changes to it must be approved by OSE.

Failure to communicate within the indicated timeframe may result in OSE not accepting the proposed date; the results obtained in that instance will not be considered valid.

      - The OSE technician's role will be:Provide the selection criteria for the samples to carry out the reception, verify the reception work having the authority to give indications on the procedures carried out in the reception tests; verify the manufacturer's facilities as well as the general manufacturing procedures, familiarize yourself with the products being manufactured and the quality management system, collect manufacturer catalogs, etc.; in order to be able to prepare a finished report of the manufacturing processes, quality control, etc.

      - Along with the notification of the start date for testing, a detailed schedule of the tests must be submitted, including the time limit indicated in Annex VII - Technical Specifications and Controls, and a description of the facilities to be used. It must be demonstrated that the proposed infrastructure capacity is sufficient to meet the maximum duration of all tests for the acceptance of each tendered batch.

    - Tests for the acceptance of meters at the factory

9.2.2.1The inspections and acceptance tests of the awarded meters will be carried out on site at the corresponding place of manufacture.

9.2.2.2For the reception, all of the requested 13mm meters will be taken, that is, the quantity of 50,000 meters will be considered.

9.2.2.3This lot will undergo the following tests, with the number of units for the chosen sample and must comply with the acceptance numbers shown below.	The metrological tests will be carried out at the flow rates specified in Art. 7.3.2 regardless of the offered R value.

- Leak Test

Sample to be tested:	 200 units

Maximum number of rejections:	 07 units

- Pressure loss test

Sample to be tested:	 08 units

Maximum number of rejections:	 00 unit

- Accuracy curve verification test with the meters in horizontal position (only notable flow rates: Q1, Q2 and Q3)

Sample to be tested:	  200 units

Maximum number of rejections:	   07 units

- Start-up verification test (Qo)

Sample to be tested:	  200 units

Maximum number of rejections:		   07 units

      - In conjunction with the previous tests, a visual inspection or simple test will be performed to verify compliance with the various specifications outlined in this document, particularly those related to: the indicating device, the regulating device, the sealing, construction aspects, maximum dimensions, threads, the filter, markings, corrosion, and reverse operation. All results from the inspected or tested meters must be satisfactory. The quantity will be determined by the OSE technician in charge.

      - Those gauges that are used for the accelerated wear test cannot be included as part of the total quantity of the lot to be supplied, and must be replaced with new ones.

      - If the tested set of meters meets the above requirements, the respective batch will be declared suitable, and the corresponding report will be drawn up, attaching the results sheets for all tests performed along with any relevant observations. Three copies will be made: one for the buyer (OSE), one for the supplier, and one for the certifying entity. All copies must be signed by the responsible parties.

      - One of these documents must be submitted to the Administration technician present, or alternatively, to OSE for approval before the meters are dispatched. Failure to comply will result in the bidder being responsible for all expenses incurred as a result.

      - If any of the tests do not meet these specifications, the batch will be rejected, and the supplier must submit a new batch for retesting. All expenses incurred due to delays in the schedule presented in the proposal or the need to test a new batch will be the responsibility of the supplier. These expenses include all costs related to lodging, travel, airfare, and any other expenditure necessary for the stay and/or replacement of assigned inspectors.

## METER QUALIFICATION TESTS

  - All meters received as samples will undergo meter qualification tests and examinations. The metrological tests will be performed at the flow rates specified in Article 7.3.2, regardless of the offered R-value.

  - These tests and examinations are intended to verify compliance with the requirements established for the meters in this document.

  - The tests and examinations will be carried out in the Laboratory of the Measurement Management Unit of OSE, with officials from the Administration.

  - The Administration will notify the bidders of the date on which these tests will be carried out, and may be present at them through a duly authorized representative.

  - The samples to be submitted for testing may not havethe acronym OSE, but it must be indicated in the offer that they will comply with this requirement and how.

  - The results of the tests will be recorded in minutes to which the corresponding control sheets and any relevant observations will be attached.

  - Three copies of each of these documents will be made, two for the Administration and one for the bidder, all of which must be signed by the acting officials.

  - The tests will be in accordance with ISO 4064 I / II and III, UNIT Standard – NM 212:2002, indicating below the class of tests, the number of samples and the approval index for each of the lots and meter diameters to be tested:

- Visual Inspection Test

Sample to be tested:	01 unit

Maximum number of rejections:	00 unit

- Leak Test

Sample to be tested:	06 units

Maximum number of rejections:	00 unit

- Pressure loss test.

Sample to be tested:	01 unit

Maximum number of rejections:	00 unit

- Accuracy curve verification test (Q3, Q2 and Q1 according to the values ​​defined in Art. 7.3.2)

Sample to be tested:	06 units

Maximum number of rejections:	00 unit

- Start-up verification test (Q0, according to the value defined in Art. 7.3.2)

Sample to be tested:	06 units

Maximum number of rejections:					00 unit

  - It is specifically noted that the indicated flow rates are the minimum to be tested, leaving it to the Administration to carry out tests at intermediate flow rates in order to verify compliance with ISO Standard 4064 in its latest version in force.

  - In conjunction with the aforementioned tests, a visual inspection or simple test will be performed, as appropriate, to verify whether the sample complies with the various specifications outlined in this document, particularly those related to: the indicator device, the sealing, the construction aspects, the maximum dimensions, the filter, the marking, the reverse operation, and the threads. Once the tests are completed, the officials involved will prepare the corresponding test results forms and draw up the relevant reports.

## QUALIFICATION TESTS OF SMART METER TELEMETRY DEVICES

The qualification test of smart meter telemetry devices will consist of verifying the proper functioning of their basic functions, that is:

- Establishment of cellular communication using the offered technology. Test conducted by Antel

- Sending reading data

- Concordance of physical and remote readings

These tests will be carried out at the same time as the meter qualification tests set out in Chapter 10 of this annex, in the laboratory of the OSE Measurement Management Unit.

The tests will be applied to the 2 meters that were requested as samples already equipped to address these tests.

Each bidder must have, on the date of the tests, all the necessary elements to demonstrate the telemetry capability of the smart meter in the basic functions mentioned.

The testing procedure will be as follows:

      - OSE will have in the test bench of meters, the 2 sample meters that are equipped to establish cellular communication.

      - Bidders may review and/or adjust the configurations of the smart meters if they deem it necessary.

      - An OSE technician will pass water through the meters for at least 45 minutes and for no more than 1 hour, at different flow rates, during which the following tests will be carried out, taking note of the initial and final readings, as well as any corresponding intermediate readings and the time at which they are performed.

  - Data generation

During the time that the water passes through the meters, the smart meter will process the information and store the meter reading data at intervals of 10 or 15 minutes, depending on the characteristics of the telemetry device.

  - Connectivity test

Once the previous stage is completed, the bidder will establish a connection with the cellular network. Up to 3 failed connection attempts will be allowed.

  - Sending reading data and concordance control

Once the connection is established, the information stored in the smart meters must be sent to the site designated by the provider for collection. This information will then be read, and at least three readings must be taken at continuous intervals of 10 or 15 minutes. Re-attempts will not be permitted.

  - Concordance of physical and remote readings

The readings received will be compared against the physical reading of the meter and the corresponding times, which must coincide, considering an error of no more than 1 m³.

      - This qualification test will be considered passed if all the aforementioned tests are successfully completed.

## FROM THE LIST OF CONNECTIONS TO TELEMEDIR

  - The Administration will provide the supplier, upon awarding the tender, with an updated list of the number of connections to be remotely measured and containing all the data of the corresponding Supplies.

  - The information provided at this stage must be considered confidential by the provider and will be treated in accordance with current information confidentiality regulations in Uruguay.

  - OSE will have a limited number of alternative supplies available for those cases in which, for justified reasons and at the discretion of the Administration, it is not possible to establish or stabilize the telemetry in accordance with the requirements of the tender.

## ON THE TRANSFER OF INFORMATION

  - Once the validation stage of the System and the Telemetry Service is completed, the successful bidder must expand the technical information provided in the offer.

The information will be provided to technicians designated by OSE and will cover at least the following aspects:

- Functionalities of the implemented Telemetry System.

- Configuration of parameters on the telemetry devices, initialization of equipment and entry of all the data necessary to start a transmission.

- Functionalities, configuration and operation of the application(s) installed for the management of fixed telemetry networks and data management.

- Presentation of common failures and ways to address the solution, as well as the general maintenance required by the equipment.

- Management and configuration of additions and removals.

## REQUIREMENTS FOR PERFORMING THE QUALIFICATION TESTS OF THE METERS

  - General conditions

14.1.1 The tests must be carried out in a room at ambient temperature.

14.1.2 Before carrying out each test, the meters must operate at their maximum flow rate for at least 10 (ten) minutes.

14.1.3The facilities to be used in the different tests must be provided with suitable reference standards, with their respective calibration certificates issued by a national or international body, and must cover the entire range of the instruments, indicating the calibration uncertainties.

  - Measuring instruments

14.2.1	Test benches for notable flow rates

For the performance of the tests required for the acceptance of the meters, the test benches must have satisfactory performance and comply with all applicable regulations. The benches may be volumetric or gravimetric, and their procedures may be automatic or assisted by electronic processors.

14.2.2 The use of an elevated tank with a constant level is preferred for flow rates between Q1 and Q2 inclusive. In all cases, it must be ensured that the feed is sufficiently stable during the tests, such that the flow rate variation is between ±5% for flow rates between Q2 and Q4 inclusive and ±2.5% between Q1 and Q2 exclusive.

14.2.3The test bench shall be installed so that the tested gauges are in their recommended working plane, and the calibrated tanks in the same position in which they were tested.

    - If the test bench is of the volumetric type, it may consist of one or more calibrated tanks, each with a graduated scale indicating volume and a discharge valve. It must be ensured that no air is trapped during filling and that the liquid drains completely during emptying. The scale used must guarantee a resolution of at least 0.5% of the collected volume, and the maximum permissible error for the calibrated tank will be 0.2% of its total volume.

    - If the test bench is of the gravimetric type, the measured mass must be converted to volume according to a specific mass of water based on the temperature of the water used in the test. The resolution of the balance must be less than or equal to 0.5% of the measured mass, and the maximum permissible error of the test bench will be 0.2%.

    - To verify the proper functioning of the test bench and the conditions established above, the Administration representative may use a standard meter previously tested and whose operating curve has been determined, to be placed in series with the meters to be tested.

    - Continuous flow test bench.

It must have a mechanical structure, registers, pressure gauges, and hydraulic pumps sufficient for the maximum flow rate used in the test. It must have the necessary capacity to meet the deadlines set for post-qualification and meter acceptance tests.

##### Procedures for the tests to be performed

    - Leak test

14.3.1.1 The tightness is checked by applying hydrostatic pressure to the meters	of 16 (sixteen) bar, applied for a time of not less than 15 (fifteen) minutes and a pressure of 20 (twenty) bar applied for at least 1 minute, visually verifying that there are no leaks or exudation in any of its parts and without diminishing its operating characteristics (Art. 7.3.5 of Annex VII).

14.3.1.2The equipment to be used in this test must be capable of reaching the test pressure plus 10% and the pressure gauge will have a full scale of approximately 30 (thirty) bar, with a maximum permissible error of 2% of the indicated pressure.

    - Pressure loss test

      - It will be verified that the pressure drop to Q3 does not exceed0.40 bar (4.0 mca) (Art. 7.3.6 of Annex VIII).

      - The equipment required for this test shall be a differential pressure gauge, connected to the meter by two straight sections of pipe, each with the same diameter as the meter and ten times the diameter in length, one on each side of the meter. The indicated flow rates will be circulated through this equipment, and the pressure loss will be measured in the corresponding devices, which will have a maximum permissible error of 2% of the indicated pressure.

    - Accuracy curve verification test

      - It will be verified that the meters at significant flow rates (Q3, Q2 and Q1) comply with the maximum permissible errors(Art. 7.3.1 of Annex VII) allowing the flow rate variations indicated in ISO 4064 in its latest version or its equivalent. To this end, the reference volumes indicated on the test bench will be compared with those recorded by each meter, calculating the corresponding error for each flow rate.

      - For carrying out these tests, equipment with the characteristics indicated in theItem 14.2 of this Annex VII.

    - Start-up test

      - This test will verify whether the meters register the passage of water at the flow rate indicated by the manufacturer, which should not exceed half the minimum flow rate, and verifying that the measurement error is at least -50%. (Art. 7.3.3of Annex VII).

      - For this purpose, the meters will be placed on the test bench, complying with the provisions of Art.14.2 of this Annex VII – Technical Specifications, and the reference flow will be circulated, and it must be verified that the meters comply with the provisions of the previous point.

    - Visual Inspection Test or Simple Test

      - This test will verify the technical and construction characteristics, following what is determined by the Standard and this document.

      - It will be carried out by performing a visual inspection or a simple test, for the cases that are understood to correspond, in order to determine if it complies with the different indications that appear in this document, in particular those related to: the indicating device, the regulating device, the sealing, the construction aspects, the maximum measurements, the threads, the filter, the marking, the resistance of the viewer, etc.

# ANNEX VIII

# Declaration of gender equality

Sworn declarationIn the city of………… on the…….. day of the month of…. of the year …….., …………, in his capacity as …… of the company …….., declares under oath that in this company a policy has begun to be implemented aimed at compliance with the following laws and ministerial ordinance:

- Law 18.104 of 15/3/2007, on equality of rights and opportunities between men and women in the Eastern Republic of Uruguay.

- Law 18.561 of 11/9/2009,of sexual harassment, prevention and punishment in the workplace.

- Law 17.215, dated 24/9/1999 concerning public or private female workers who are pregnant or breastfeeding.

- Law 19.161 of 1/11/2013 relating to maternity and paternity benefits for workers in the private sector, and

- Ministerial Ordinance of the MSP No. 217/2009 on Breastfeeding

In accordance with the above, the company assumes the obligation to prove, through the corresponding documentation, the actions carried out for its compliance, as well as the commitment to adapt its actions to them when circumstances require it.

_______________________

Signature

# ANNEX IX

# COMMITMENT TO CONFIDENTIALITY

Confidentiality Agreement for Supplier Companies Abbreviated Tender No. XXXX In the city of Montevideo, on the …… day of …………… of the year two thousand ……., Mr./Mrs. …………………………….., holder of identity card No. …………………………., representing the company ……………, RUT No. ………………… (according to the attached certificate), declares that he/she assumes this Confidentiality Agreement, which will be governed, in general, by current regulations and the Information Security Policy of the State Waterworks Administration (OSE) and in particular, by the following stipulations: FIRST: SCOPE OF THE COMMITMENT. Unless otherwise indicated, any information, whatever its nature, contained in any form or medium, that may be provided by OSE, including information generated from the Confidential Information itself, will be considered “Confidential Information in a broad sense. 2.-This Commitment will not cover confidential information that: - a) outside the public domain or enter the public domain for reasons beyond the control of the signatory company; - b) must be disclosed by operation of law or a judicial process, in which case the signatory company must communicate this situation to OSE in advance so that it can take all appropriate measures to ensure confidentiality and that the use of the disclosed information is limited strictly to the purpose required by law or court order. SECOND: MAIN OBLIGATIONS.- Without implying an exhaustive list and without prejudice to the provisions of Article 302 of the Penal Code, the following main obligations are established that the signatory company must fulfill: - a) maintain strict and absolute confidentiality and secrecy regarding all information or knowledge included in the previous clause; - b) apply the corresponding security measures that are reasonable and prudent to protect the information referred to, taking into account, but not limited to, the OSE security provisions that are instructed to the signatory company; - c) use the confidential information only for the established purpose, the signatory company is prohibited from any use or reproduction for its own benefit or that of third parties, as well as any removal of the same from the premises of OSE whether in paper, electronic, via fax or email, or by any other means without the respective authorization; - d) to warn its staff – whether employees or contractors – and any person to whom confidential information is disclosed, with due authorization, of its confidential nature and the terms of this Commitment; and - e) report to OSE any unauthorized disclosure of confidential information of which he becomes aware by virtue of his connection with it. THIRD: VALIDITY.- The confidentiality obligations assumed in this Commitment will remain in effect for the duration of the signatory company's relationship with OSE and will persist even after its termination, for a period of ten years from the date of such termination. FOURTH: RESPONSIBILITY.- The signatory company will be responsible for any violation of this Confidentiality Agreement, whether such violation occurs as a result of an action or omission, whether by itself or by any person who has acquired confidential information from or through the signatory company without the prior express written consent of OSE. The Agency reserves the right to audit and monitor compliance with the obligations assumed under this Commitment, as well as to supervise activities involving the handling of confidential information. FIFTH: PENALTY FOR NON-COMPLIANCE.- In the event of non-compliance with this commitment, OSE is fully authorized to take any legal and regulatory measures to which it is entitled. Furthermore, such non-compliance will be considered a serious offense in accordance with the Information Security Policy, entitling OSE to terminate its relationship with the signatory company, without prejudice to any civil or criminal actions to which it may be entitled. SIXTH: OWNERSHIP OF CONFIDENTIAL INFORMATION.- The undersigned company declares, acknowledges and accepts that the confidential information to which it has access by virtue of its connection with OSE is not its property, and it is prohibited from any form of disclosure other than the purpose for which it was obtained. Likewise, the signatory company assigns in an unlimited and exclusive manner, in favor of OSE, the patrimonial rights over the confidential information in whose generation or development it may intervene by virtue of its link with OSE, the same being the only one authorized to decide on its disclosure, as well as to exercise the moral rights over them. In witness whereof, two copies of the same tenor are signed, in the place and on the date indicated above. Signature…………………………………………………. Clarification………………………………............ CI Nº………………...……………………………….

# APPENDIX X

# Sworn Statement Art. 46 of the TOCAF

Article 46. Natural or legal persons, national or foreign, who, having the exercise of the legal capacity indicated by common law, are not included in any provision that expressly prevents them from doing so, or in the following cases, are qualified to contract with the State:

1) Be an official of the contracting Administration or maintain an employment relationship of any kind with it; offers submitted by the individual in their personal capacity, or by natural or legal persons that the individual is part of or with whom they are linked for reasons of representation, management, advice, or dependency, are not admissible. However, in the latter case of dependency, offers submitted may be accepted when there is no conflict of interest and the individual has no involvement in the procurement process.

The aforementioned circumstances must be expressly recorded in the file.

Notwithstanding the foregoing, in the case of the State Health Services Administration, when it involves a management or dependency relationship, offers may be processed when the persons do not have decision-making power in the acquisition process, which must be expressly stated in the file by means of a sworn declaration, subject to the penalty provided for in article 239 of the Penal Code.

2) Being suspended or removed from the Single Registry of State Suppliers.

3) Not being registered in the Single Registry of State Suppliers in accordance with the regulations.

4) Having acted as an official or maintained any employment relationship of any nature, advisor or consultant, in the advice or preparation of specifications and conditions or other documents related to the tender or administrative contracting procedure in question.

5) Lack of habitual activity in the trade or industry of the branch to which the contract corresponds, unless, in the case of new companies, they demonstrate solvency and responsibility

Article 239 of the Penal Code: “Anyone who, on the occasion of granting or formalizing a public document, before a public official, makes a false statement about their identity or status or any other factual circumstance, shall be punished with 3 to 24 months of imprisonment.

I declare under oath: I am not included in the situations of incompatibility provided for in Art. 46 of the Consolidated Text of Accounting and Financial Administration:

Signature(s) Clarification of Signature(s)

# Annex XI

# Sworn statement of Occupational Safety and Health

Mr./Ms. ________________________________________________ on behalf of and representing the Company: _______________________________________________ RUT: _________________________ in the capacity of:______________________________ domiciled at: ________________________________ No.: _________ Locality: _________________________ Department: ___________________________ makes this sworn statement to OSE in relation to Occupational Safety and Health, in the performance of the tasks identified by the OC, CD, LP, LA, or others: ________________________ , and that under the administrative, civil or criminal responsibilities that may correspond result from their status as a contractor.

Therefore, we declare that, before starting the tasks and on the occasion of their execution:

1) All our staff have current occupational health fitness, appropriate to the work to be performed.

2) All facilities, machinery, equipment and tools (owned) to be used are suitable for use, are inspected and properly maintained, and records of these actions are kept.

3) All personnel are provided with the collective and personal protective equipment appropriate to the tasks to be performed according to current legal regulations, are suitable for use, are inspected and maintained appropriately, and their correct use is controlled by our supervision at the workplace, with records of these actions.

4) We will have in the workplace a written plan for the prevention of occupational risks, according to current regulations, which will include a record of periodic monitoring of that plan.

5) We will adopt all preventive and corrective measures indicated by current legal regulations, as well as those specifically requested by OSE when indicated.

6) All staff have the necessary training in occupational safety and hygiene as indicated by current legal regulations, and records of these actions are kept.

7) In particular, we will carry out safety and hygiene inspections at work, as well as the investigation of all incidents that occur (with and without injury) and we will send a Weekly ( ), Monthly ( ), or Quarterly ( ) report to the OSE contract administrator, which will consist of a summary of the results of the interventions carried out.

8) We will immediately and reliably inform the OSE contract administrator of all work accidents that occur on the occasion of or during the provision of the service, sending him, in the case of a serious or fatal accident, the corresponding technical investigation report, within a maximum period of 48 hours.

9) In the event of employing subcontractors, we will reliably demand that they comply with all obligations arising from their group of activity in matters of safety and hygiene at work, as well as all specific requirements that OSE requests by sworn statement to its contractors, making us exclusively and exclusively responsible for any damage or harm that the subcontractors cause to OSE and/or any third party, as a consequence of the violation of the provisions in the matter.

10) We will have in the workplace all the documents and records indicated in the current regulations related to aspects of safety and hygiene at work.

11) Once the work is completed, we will carry out the corresponding closure with the Social Security Bank where applicable.

12) The authentic photocopy of the work schedule we are submitting includes all personnel assigned to the aforementioned tasks, and we undertake to immediately and reliably notify OSE of any changes due to additions or removals. Furthermore, we declare that we are aware of the current regulations regarding occupational safety and health and Laws Nos. 18099 and 18251 concerning OSE's potential liabilities towards our personnel, committing ourselves to the faithful fulfillment of all legal and regulatory obligations, and assuming, if necessary, the legal defense required to exempt OSE from any financial liability.

13) Within the framework of Law 19196 of 25.03.2014, we will adopt the means of protection and occupational safety provided for in the law and its regulations, in order to avoid putting the life, health or physical integrity of the worker in serious and concrete danger.

14) In the event that any of the information provided in this document is found to be false, the Company, its Technical Manager, and its Technical Representative accept the application of the penalties provided for in current regulations and may be subject to the application of Article 237 of the Criminal Code, which states: (Forgery or alteration of a public document by a private individual or public official outside the exercise of their duties) “Any private individual or public official who, outside the exercise of their duties, creates a false public document or alters a genuine public document, shall be punished with two to six years of imprisonment,” and Article 239 of the Criminal Code, which states: (Ideological falsification by a private individual) “Anyone who, in connection with the granting or formalization of a public document before a public official, makes a false declaration regarding their identity, status, or any other factual circumstance, shall be punished with three to twenty-four months of imprisonment.” This is without prejudice to any applicable administrative and/or civil liabilities.

And for the record, this copy is signed in the city of ____________________ on the ___ day of the month of ________________ of the year two thousand_____.

___________________________________________

Signature of the Company Representative

___________________________________________

Clarification of the Signature

___________________________________________

Identity Document

# ANNEX XII

# Sworn statement of NOT being registered as a Delinquent Alimony Debtor.

Sworn Statement: In the city of _________ on the _____ day of the month of ____ of the year ______, __________, in his/her capacity as _____ of the company ________, declares under oath that the Owners, Directors and Administrators of this company are not registered in the National Registry of Personal Acts, Interdictions Section, as a delinquent alimony debtor, for the purposes provided by the following Laws:

1) Law 17.957 of 4/4/2006 which adds to the Acts registrable in the National Registry of Personal Acts, Interdictions Section, the registration of delinquent alimony debtors with the scope provided in said law.

2) Law 18. 244 of 12/27/2007 which provides and regulates the communication of the interdiction, providing for the disqualification of those registered as delinquent alimony debtors, or of the company of which they are directors or administrators, to be contracted in purchases whose amount exceeds the maximum limit of the abbreviated tender, and until they lose the status of such.

_______________________

Signature

Mandatory fields.

The price is stated in both numbers and words. In case of discrepancy, the price written in words will prevail.

The price is stated in both numbers and words. In case of discrepancy, the price written in words will prevail.

The price is stated in both numbers and words. In case of discrepancy, the price written in words will prevail.

As established in Art. 10.1 of Section II and/or Amendments if any.

As established in Article 25 of Section II and/or Amendments if any.

As established in Article 25 of Section II and/or Amendments if any.

Art. 239 - Penal Code: “Anyone who, on the occasion of the granting or formalization of a public document before a public official, makes a false statement about their identity, status or any other factual circumstance, shall be punished with three to twenty-four months of imprisonment.”